## enforcement_activity_tracking_(
SWM and UST Orders signed between 5/11/2017 and 8/24/17
Initial Civil Penalties
Division | OrderNumber | Order Description | OrderSigned | OrderAppealed | OrderClosed | OrderAgreed | OrderType | Site | OrderStatus | ViolationType | DivisionIn Charge | upfront | contingent
UST | UST13-0014 | Failure to submit ExAR and RAR. Tanks removed in 1999. | 2017-05-26 | 2017-06-26 | - | - | Director's Order | Evensville Country Store | Appealed | Petroleum Release | OGC | 9600 | n/a
UST | UST14-0062 | Draft order review | 2017-07-13 | - | - | - | Director's Order | Samy's Citgo | Final - Probation | Compliance Inspection | UST | n/a | 13200
UST | UST16-0166 | Ruby Tuesday draft order review | 2017-07-13 | 2017-08-23 | - | - | Director's Order | Ruby Tuesday | Appealed | Compliance Inspection | OGC | 5280 | n/a
UST | UST16-0167 | Ruby Tuesday draft order review | 2017-07-13 | 2017-08-23 | - | - | Director's Order | Ruby Tuesday Corporate Offices | Appealed | Compliance Inspection | OGC | 5280 | n/a
UST | UST16-0208 | Draft Order Review | 2017-07-13 | - | - | - | Expedited DO | Ocoee Chevron & Country Inn | Final - Probation | Compliance Inspection | UST | n/a | 3200
UST | UST16-0203 | Violation of Rule 0400-18-01-.16(a) and the Federal Energy policy Act of 2005, failure to assign certified operators for site having one or more UST systems | 2017-05-24 | 2017-07-21 | - | - | Director's Order | Twin Valley Market | Final | Compliance Inspection | OGC | 4560 | n/a
UST | UST16-0060 | Draft order review | 2017-07-03 | - | - | - | Expedited DO | Selmer Quick Stop | Final - Probation | Compliance Inspection | UST | n/a | 6000
UST | UST17-0044 | Draft order review | 2017-07-13 | - | - | - | Expedited DO | Yopps C Store | Final - Probation | Compliance Inspection | UST | n/a | 6000
UST | UST16-0079 | Violation #1: Failure to conduct annual line tightness test or do monthly monitoring on pressurized underground piping. | 2017-07-13 | - | - | - | Expedited DO | Zips 2 | Final - Probation | Compliance Inspection | UST | n/a | 6000
UST | UST17-0092 | Draft order review | 2017-07-05 | - | - | - | Expedited DO | Quality Oil Gas House | Final | Compliance Inspection | UST | n/a | 24000
UST | UST16-0106 | One (1) violation assessed at FOUR THOUSAND SEVEN HUNDRED SIXTY DOLLARS ($4,760.00) for failing to fully cooperate with the Division. Three (3) violations assessed at SIX HUNDRED DOLLARS ($600.00) each for a total of ONE THOUSAND EIGHT HUNDRED DOLLARS for failing to report a change of status for a UST system within 30 days. Three (3) violations assessed at THREE THOUSAND TWO HUNDRED DOLLARS ($3,200.00) each for a total of NINE THOUSAND SIX HUNDRED DOLLARS ($9,600.00), for failing to place automatic tank gauging device in leak detect mode at least once per month when required. | 2017-07-13 | 2017-08-22 | - | - | Director's Order | Cherry BP | Appealed | Compliance Inspection | OGC | 20880 | n/a
UST | UST17-0088 | Tank removed without approval | 2017-07-13 | - | 2017-08-08 | - | Expedited DO | Columbia/hca Healthcare | Closed | Compliance Inspection | UST | 640 | 2560
UST | UST16-0104 | Violation #1: Failure to conduct annual line tightness test or do monthly monitoring on pressurized underground piping. Violation #2: Failure to monitor tanks at least monthly. | 2017-08-09 | - | - | - | Expedited DO | STOP AND GO #2 FKA The Butcher Shop | Final - Probation | Compliance Inspection | UST | n/a | 15600
UST | UST17-0117 | Violation #1: Failure to provide release detection method capable of detecting a release from tank that routinely contains product in accordance with Rule 0400-18-01-.04(1)(a)1. | 2017-08-09 | - | - | - | Expedited DO | L and R Market | Final - Probation | Compliance Inspection | UST | n/a | 9600
UST | UST17-0103 | Violation #1: Failure to provide release detection method capable of detecting a release from tank that routinely contains product in accordance with Rule 0400-18-01-.04(1)(a)1 | 2017-07-13 | - | - | - | Expedited DO | Defeated Creek Marina, Inc. (On Cordell Hull Reservoir) | Final - Probation | Compliance Inspection | UST | n/a | 3200
UST | UST16-0068 | The facility was inspected 9-17-15 With one violation Violation #1: Failure to conduct annual line tightness test or do monthly monitoring on pressurized underground piping in accordance with Rule 0400-18-01-.04(2)(b)1(ii). | 2017-07-13 | - | - | - | Expedited DO | Express Mart f/k/a Amoco BP Express | Final - Probation | Compliance Inspection | UST | n/a | 4000
UST | UST16-0051 | Violation #1: Failing to provide release detection for piping. Violation #2: Failing to install, calibrate, operate or maintain release detection method for tank. Violation #3: Failing to secure the line leak detector on TOS tank #2 Violation #4: Failing to test line leak detectors annually Violation #5: Failing to ensure that cathodic protection is functioning as designed and is effectively preventing corrosion. Violation #6: Failing to have corrosion protection on steel piping, including flex connectors. Violation #7: Failing to inspect the impressed current system every sixty (60) days. Violation #8: Failing to keep spill catchment basins free of water, dirt, debris, etc. Violation #9: Failing to designate A/B operators. Violation #10: Failing to cooperate with the Division. | 2017-07-13 | - | - | - | Director's Order | Jr. Mart | Appealed | Compliance Inspection | OGC | 35760 | n/a
UST | UST16-0273 | Draft order review | 2017-07-13 | - | - | - | Expedited DO | PK's Food Mart #1 | Final - Probation | Compliance Inspection | UST | n/a | 17600
UST | UST17-0052 | Director's Order | 2017-07-11 | 2017-08-03 | - | - | Director's Order | H and S Market | Appealed | Compliance Inspection | OGC | 4560 | n/a
UST | UST16-0057 | Compliance violations (no 0.2 gph leak test, no LTT, no spill bucket inspection log, and no dispenser inspection log), release investigation violations (no IRHMR and no revised RAR), and not actively registered with SOS. | 2017-06-01 | - | - | - | Director's Order | 101 Travel Plaza | Final | Petroleum Release | OGC | 46080 | n/a
| SWM and USTappeals resolved between 5/11/2017 and 8/24/17 | [10 empty] | Initial Civil Penalties |  | Settlement Penalties
Division | OrderNumber | Order Description | Appealed | Agreed | Closed |  | Initial Order | Site | OrderStatus | ViolationType |  | upfront | contingent | upfront | contingent
UST | UST16-0006 | Closure of Tanks | 2017-03-23 | 2017-08-07 |  |  | Director's Order | Goldston's Gulf Service Station | Final - Probation | Compliance Inspection |  | n/a - red tag | n/a | n/a | 4000
SWM | SWM16-0015 | Solid Waste Violations | 2016-10-05 | 2017-07-21 |  |  | Director's Order | Rutherford County Demolition Landfill | Final | Solid Waste Management |  | 27170 | n/a | 13000 | n/a