## ApplicableClean-upLevelsTable
Applicable Clean-up Levels for Chemicals of Concern (COC) Table
Facility name: |  | Facility ID #:
Date of last comprehensive monitoring event for soil:
Date of last comprehensive monitoring event for ground water:
Chemical of concern1 | Applicable soil RBCL or SSCL (ppm) | Maximum soil concentration from last comprehensive monitoring event (ppm)2 | Applicable ground water RBCL or SSCL (ppm) | Maximum ground water concentration from last comprehensive monitoring event (ppm)2
Benzene
Ethylbenzene
Toluene
Total Xylenes
MtBE
Acenaphthene
Acenaphthylene
Anthracene
Benzo(a)anthracene
Benzo(a)pyrene
Benzo(b)fluoranthene
Benzo(g,h,i)perylene
Benzo(k)fluoranthene
Chrysene
Dibenzo(a,h)anthracene
Fluoranthene
Fluorene
Indeno(1,2,3-c,d)pyrene
Naphthalene
Phenanthrene
Pyrene
Lead
1 = List only the applicable COCs and delete non-applicable COCs
2 = Shade if applicable RBCLs or SSCLs have been exceeded

## CAPIS (Implementation Schedule)
Corrective Action Plan Implementation Schedule
Facility ID #: | CAP implementation schedule shall be valid from CAP approval date
Facility name: | CAP approval date:
CAC:
Proposed CAP implementation start date:
Proposed CAS start-up date:
Task: | Week 1 | Week 2 | Week 3 | Week 4 | Week 5 | Week 6 | Week 7 | Week 8
Confirm with case manager that CAS has been ordered
Obtain property access agreements
Prepare and submit effluent discharge permit application(s)
Prepare and submit air emissions permit application(s)1
Apply for applicable building permit(s) (plumbing, etc.)1
Apply for electrical service
Apply for telephone service (telemetry)
Natural gas service procurement (if required for CatOx)
Utility mark out
Drill/install extraction well(s)
Excavate trench for extraction well, contingent & discharge lines
Excavate for extraction well vaults
Install extraction well, contingent and discharge lines
Install extraction well vault(s)
Backfill trench lines (with concrete cap, if applicable)
Place concrete pad for CAS
Assemble extraction well manifold
Electrical pole placement (if applicable)
Telephone line connection
Deliver and offload CAS and any accessory assembly
Manifold extraction and discharge line(s) to CAS
Connect electrical service to CAS
CAS electrical inspection
Drilling and trenching waste disposal
Receive discharge permits (effluent and emissions)1
Conduct comprehensive monitoring event
CAS Test (CAC & Manufacturer Onsite)
Place CAS online (insert proposed date)
1 = If permit required
Example tasks listed above
Additional tasks (rows) may be added if necessary
Additional weeks (columns) may be added if necessary
This schedule shall be used for other proposed/approved corrective actions, (e.g., over excavation, in-situ, etc.)

## CASIACL
Corrective Action System Installation/Activation Checklist
Page 1
Facility ID #: |  | Facility telephone #: |  | CAP approval date:
Facility name: |  |  |  | CAS manufacturer ID #:
Facility address: |  |  |  | CAS activation date:
CAC completing checklist:
Person(s) completing checklist:
CAS installation tasks:
Confirm with case manager that CAS has been ordered |  |  |  |  |  Yes  No
Obtain property access agreements |  |  |  |  |  Yes  No  N/A
Prepare and submit water/effluent discharge permit application(s) |  |  |  |  |  Yes  No
(i.e. NPDES, POTW, or UIC)
Receive approved water/effluent discharge permit |  |  |  |  |  Yes  No
Prepare and submit air emission discharge permit application(s) |  |  |  |  |  Yes  No  N/A
Receive approved air emission permit |  |  |  |  |  Yes  No  N/A
Apply for applicable building permit(s) (plumbing, etc.) |  |  |  |  |  Yes  No  N/A
Apply for electrical service |  |  |  |  |  Yes  No
Apply for telephone service (telemetry) (Is long distance necessary?) |  |  |  |  |  Yes  No
Have utilities located |  |  |  |  |  Yes  No
Drill/install extraction well(s) |  |  |  |  |  Yes  No
Excavate trench for extraction, contingent & discharge lines |  |  |  |  |  Yes  No
Excavate for extraction well vaults |  |  |  |  |  Yes  No
Install extraction, contingent and discharge lines |  |  |  |  |  Yes  No
Install well head vault(s) |  |  |  |  |  Yes  No
Backfill trench lines and cap with concrete or asphalt on paved areas only |  |  |  |  |  Yes  No
Connect extraction piping to well head manifold |  |  |  |  |  Yes  No
Pour concrete pad for CAS |  |  |  |  |  Yes  No
Set electrical pole |  |  |  |  |  Yes  No  N/A
Deliver and offload CAS and any accessory assembly |  |  |  |  |  Yes  No
Receipt of CAS operation & maintenance manual (hardcopy and electronic) |  |  |  |  |  Yes  No
Connect CAS inlet piping manifold and discharge line(s) to CAS |  |  |  |  |  Yes  No
Connect electrical service to CAS |  |  |  |  |  Yes  No
Arrange for CAS electrical connection inspection |  |  |  |  |  Yes  No  N/A
If applicable, arrange for plumbling connection inspection |  |  |  |  |  Yes  No  N/A
Connect telephone service to CAS telemetry |  |  |  |  |  Yes  No
Properly dispose of drill cuttings and trenching waste |  |  |  |  |  Yes  No
Conduct comprehensive monitoring |  |  |  |  |  Yes  No
500 gallons of water available for wet test of CAS |  |  |  |  |  Yes  No
Test CAS (CAC & manufacturer onsite) |  |  |  |  |  Yes  No
Expendable items onsite in CAS building:
Oil |  Yes  No |  | Quantity = 5 gallons
Bag filters |  Yes  No |  | Quantity =
Drums |  Yes  No  N/A |  | Quantity =
Comments:
Corrective Action System Installation/Activation Checklist
Page 2
Personnel onsite during activation:
Name: |  | Company: |  |  | Title:
Name: |  | Company: |  |  | Title:
Name: |  | Company: |  |  | Title:
Name: |  | Company: |  |  | Title:
Name: |  | Company: |  |  | Title:
Name: |  | Company: |  |  | Title:
Name: |  | Company: |  |  | Title:
Name: |  | Company: |  |  | Title:
Name: |  | Agency: |  |  | Title:
Name: |  | Agency: |  |  | Title:
Name: |  | Agency: |  |  | Title:
Installation tasks:
Initial Meter Readings |  |  | Reading | Units
Electric meter reading: |  |  |  | kWh
Runtime meter: |  |  |  | hours
Water meter: |  |  |  | gallons or cu. ft (circle correct unit)
Extraction well and drop tube placement information1:
Extraction well ID | Free product present (Yes/No) | Initally place extraction well online (Yes/No) | Depth of drop tube inlet (ft) | Drop tube inlet within screen interval (Yes/No) | Depth to fluid (ft) | Fluid level within screen interval (Yes/No)
Completed CAS manufacturer factory checklist |  |  |  |  |  Yes  No
Completed CAS manufacturer startup checklist |  |  |  |  |  Yes  No
Test for the proper function of each extraction well |  |  |  |  |  Yes  No
Test for the proper function of effluent discharge |  |  |  |  |  Yes  No
Monitoring wells properly secured |  |  |  |  |  Yes  No
extraction wells properly secured |  |  |  |  |  Yes  No
CAS properly secured (door, control panel) with padlocks |  |  |  |  |  Yes  No
CAS secured (corners of removable walls) with padlocks |  |  |  |  |  Yes  No
Permits onsite (if required): |  |  NPDES  POTW  UIC  Air Emissions  Other:
Comments:
1 = Place drop tube so CAS is not processing too much groundwater, sediment, vapors and/or free product
This table shall be submitted only with the first Corrective Action Monitoring Report CAMR (with as-built drawings),
after the CAS has been placed online.
Additional rows may be added if necessary

## CASFL
Corrective Action System Field Log
Page 1
Date of visit: |  |  |  | Time of visit
Facility ID #: |  |  |  | Arrival:
Facility name: |  |  |  | Departure:
Facility address: |  |  |  | Total time:
Facility telephone #
Personnel onsite:
Name: | Company: |  |  | Billing title:
Name: | Company: |  |  | Billing title:
Name: | Company: |  |  | Billing title:
Describe the weather conditions:
Applicable permits: |  NPDES  POTW  Air  Other:
Was the corrective action system (CAS) operating upon arrival? |  |  |  |  Yes  No  N/A
Did the telemetry report the system down? |  |  |  |  Yes  No
If the CAS was not operating, then explain [include telemetry code(s) and key, if applicable]:
Was the CAS repaired? |  |  |  |  Yes  No
Was a CASRL completed? |  |  |  |  Yes  No  N/A
Was CAS operating upon departure? |  |  |  |  Yes  No  N/A
If upon departure the corrective action system was not operating, then explain why:
Electronic controls functioning properly? |  |  |  |  Yes  No  N/A
Oil/water separator operating? Describe in comments section below. |  |  |  |  Yes  No  N/A
Volume of free product recovered since last visit, if applicable: | [5 empty] | gallons
Influent water system samples collected? |  |  |  |  Yes  No  N/A
Effluent water system samples collected? |  |  |  |  Yes  No  N/A
Influent air system measurements collected? |  |  |  |  Yes  No  N/A
Effluent air system measurements collected? |  |  |  |  Yes  No  N/A
Any leaks observed? |  |  |  |  Yes  No  N/A
Were well fluid level measurements collected? If yes, attach data: |  |  |  |  Yes  No  N/A
Were the monitor wells properly secured? |  |  |  |  Yes  No
Were extraction wells properly secured? |  |  |  |  Yes  No  N/A
Was the equipment compound secure against unauthorized entry? |  |  |  |  Yes  No  N/A
Comments:
Person completing log:
Corrective Action System Field Log
Page 2
Date of visit: | Facility name: |  |  | Facility ID #:
Air emission data |  | Units | air stripper |  | Liquid ring pump system
Effluent air discharge velocity: |  | fpm
Effluent air discharge temperature: |  | oF
Effluent air discharge OVA concentration: |  | ppm
Extraction well data
Well number: |  | RW-1 | RW-2 | RW-3 | RW-4 | RW-5
Well depth: (feet)
Well top of screen depth: (feet)
Well vacuum: (inches Hg)
Drop tube vacuum: (inches Hg)
Drop tube inlet depth: (ft)
Bleed air being introduced: (Yes/No)
Supplied air being introduced: (Yes/No)
Electric pump present: (Yes/No)
Electric pump operating: (Yes/No)
Corrective action system data* |  | Reading (N/A) | Units |  | Operating range
Air/water separator vacuum: |  |  | inches of Hg
Air/oil demister pressure: |  |  | psi
Liquid ring pump temperature: |  |  | oF
Air stripper pressure: |  |  | inches of H2O
Air compressor operating pressure: |  |  | psi
GW bag filter pre-filter pressure (gauge located at air stripper discharge pump): |  |  | psi
GW bag filter post-filter pressure: |  |  | psi
Carbon vessel #1 pressure: |  |  | psi
Carbon vessel #2 pressure: |  |  | psi
Meter readings and flow rates** |  | Reading (N/A) | Units
Current hour meter reading: |  |  | hours
Previous hour meter reading: |  |  | hours
Current electric meter reading: |  |  | kWh
AWS water transfer pump flow rate: |  |  |  gpm  cfm
Current water discharge pump flow rate: |  |  |  gpm  cfm
Previous water discharge meter reading: |  |  |  gals  ft3
Current water discharge meter reading: |  |  |  gals  ft3
Previous water discharge meter reading: |  |  |  gals  ft3
Effluent water discharge meter operating? |  |  Yes  No  N/A
*Note: Collect all pressure readings during pump operation
**Note: Record previous meter readings prior to site visit
Corrective Action System Field Log
Page 3
Date of visit: | Facility name: |  |  | Facility ID #:
Task:
Check LRP system piping for leaks |  |  |  |  |  Yes  No
Check oil level, temperature and condition of the liquid ring pump (i.e., excessive temperature rise, oil consumption, vibration, noise, etc.) |  |  |  |  |  Yes  No
Check for water or cloudiness in the oil sight gauge. (if necessary, drain water off and throttle oil to raise temperature) |  |  |  |  |  Yes  No
Check the operation of the AWS transfer pump |  |  |  |  |  Yes  No
Record the air stripper pressure (page 2) (A high backpressure indicates that the aeration tubes need to be cleaned) |  |  |  |  |  Yes  No
Note backpressure of air/oil demister (should be <4 psig. Replace as needed) |  |  |  |  |  Yes  No
Monitor the operation of the stripper effluent pump and note the reading on the totalizing flow meter |  |  |  |  |  Yes  No
Check AWS inlet strainer (remove strainer after the first month of operation) |  |  |  |  |  Yes  No
Check and drain/flush solids from the bottom of AWS tank |  |  |  |  |  Yes  No
Check levels on product storage tank, if applicable (empty as necessary) |  |  |  |  |  Yes  No
Check bag filter and carbon pressures (change bags as necessary to maintain flow. Note the differential pressures from vessel to vessel) |  |  |  |  |  Yes  No
For CAS with GAC units, backflush each canister. (additional water may be needed for sites without water supplies) |  |  |  |  |  Yes  No
Check and clean conductivity level probe rods in AWS |  |  |  |  |  Yes  No
Inspect the OWS packing (clean if necessary) |  |  |  |  |  Yes  No
Inspect the aeration tubes in the air stripper (clean if necessary) |  |  |  |  |  Yes  No
Clean exterior of radiator of dust, dirt, leaves, oil, etc. |  |  |  |  |  Yes  No
Tighten nuts & bolts on liquid ring flanges and hose clamps |  |  |  |  |  Yes  No
Check all hoses for deterioration (replace if needed) |  |  |  |  |  Yes  No
Inspect door, walls, ceiling, motors, fans, and components for any leaks, damage or corrosion |  |  |  |  |  Yes  No
Comments:
Person completing log:
Corrective Action System Field Log
Quarterly O&M
Page 4
Date of Visit: | Facility Name: |  |  | Facility ID #:
Task:
Chemically clean transfer pump and conductivity probes and discharge check valve |  |  |  |  |  Yes  No
Clean LRP oil strainer |  |  |  |  |  Yes  No
With power off, perform a wire pull test and tighten all electrical connections in the control panel |  |  |  |  |  Yes  No
With power off, check all electrical connections at the motor junction boxes and check the wires for corrosion |  |  |  |  |  Yes  No
Grease liquid ring pump every 2,000 hours. (Follow manufacturer's procedures for greasing the pump) |  |  |  |  |  Yes  No
Grease liquid ring motor every 4,000 hours. (Follow manufacturer's procedures for greasing the motor. The motor comes standard with plugs in the top and bottom fittings. Remove the top plug and install a grease fitting. Remove the bottom plug only when greasing to allow a place for the old grease to exit. Reinstall the bottom plug when complete to prevent dripping. Leave the grease fitting in the top. Very specific greasing instructions from the motor manufacturer are included in the O&M manual. Transfer pump and air stripper blower motors have sealed bearings and do not require greasing) |  |  |  |  |  Yes  No
Clean the air stripper aeration tubes |  |  |  |  |  Yes  No
Clean OWS packing and drain solids from the bottom of the OWS |  |  |  |  |  Yes  No
Clean solids from the air stripper effluent sump |  |  |  |  |  Yes  No
Test Emergency stop button |  |  |  |  |  Yes  No
Comments:
Person completing log:
Corrective Action System Field Log
Annual O&M
Page 5
Date of Visit: | Facility Name: |  |  | Facility ID #:
Task:
Check liquid ring drive coupling for wear or abrasion (replace as needed) |  |  |  |  |  Yes  No
Clean out wall panel channels and grease hinges |  |  |  |  |  Yes  No
Clean and back flush internals of radiator (remove any excess water) |  |  |  |  |  Yes  No
Check and clean demister tank bottom (remove any excess water) |  |  |  |  |  Yes  No
Replace inlet and dilution air filter element |  |  |  |  |  Yes  No
Replace transfer pump mechanical seals and check valves |  |  |  |  |  Yes  No
Change liquid ring oil (use replacement oil that meets or exceeds manufacturer's specifications) |  |  |  |  |  Yes  No
Replace the demister element in the LRP separator after all other cleanings and changes have been done |  |  |  |  |  Yes  No
Check and clean oil scavenge line |  |  |  |  |  Yes  No
Comments:
Person completing log:

## CAS Entry Log
Corrective Action System Entry Log
Facility name: |  |  | Facility ID #:
CAS manufacturer ID #:
Date | Time In | Name | Company/Agency | Time Out
This entry log shall be maintained inside the CAS at all times and be available for inspection
This log is not required to be presented in CAMRs.
Add rows as necessary

## CASDR
Corrective Action System Down Report
The UST Division shall be notified by submitting a CASDR within three (3) business days of any system downtime that exceeds 72 hours in length (continuous downtime). If the cost for the repair will exceed $2,000.00, then a cost proposal for the repair, itemizing personnel time, installation costs, and capital equipment costs, shall be submitted with the CASDR. The Division shall be notified within five (5) calendar days of reactivating the CAS. A schedule for when the system will be operational shall be included.
Date of visit: |  |  | Time of visit
Facility ID #: |  |  | Arrival:
Facility name: |  |  | Departure:
Facility address: |  |  | Total time:
Facility telephone #
Personnel Onsite:
Name: | Company: |  | Billing title:
Name: | Company: |  | Billing title:
Name: | Company: |  | Billing title:
Corrective action system deactivation date: |  |  | Time:
Is a telemetry system installed for this CAS? |  |  |  |  Yes  No
If a telemetry system is installed, did the telemetry report the system down? |  |  |  |  Yes  No
If yes, record the alarm code(s): |  | (attach the alarm code key and printouts)
Reason for corrective action system deactivation:
Actions being taken to reactivate the corrective action system:
Estimated corrective action system reactivation date:
Estimated corrective action system repair component costs:
Estimated corrective action system repair labor costs including rentals:
Estimated total costs for this repair:
Person completing this report:

## CASRL
Corrective Action System Repair Log
Date of visit: |  | Time of visit
Facility ID #: |  | Arrival:
Facility name: |  | Departure:
Facility address: |  | Total time:
Facility telephone #
Personnel Onsite:
Name: | Company: | Billing title:
Name: | Company: | Billing title:
Name: | Company: | Billing title:
Was the corrective action system operating upon arrival? |  |  |  Yes  No
Did the telemetry report the system down? |  |  |  Yes  No
Describe why the corrective action system is not operating [include telemetry code(s) and key]:
Describe the corrective action system repair activities performed this visit:
List the corrective action system component(s) repaired or replaced:
Was the corrective action system operating upon departure? |  |  |  Yes  No
If upon departure the corrective action system was not operating, then explain why:
If no, estimate when will personnel return to complete the repair?
If the personnel cannot return the next day to complete the repair, then explain why:
Comments:
Person completing log:

## Schedule
Schedule for Monitoring Reports and Tasks
Facility name: |  |  | Facility ID #:
Report: | Month
| 0 | 3 | 6 | 9 | 12 | 18 | 24 | 30 | 36 | 42 | 48
Corrective Action Baseline Monitoring Report | X
Corrective Action Monitoring Report with as-built diagrams |  | X
Corrective Action Monitoring Reports |  |  | X | X | X | X | X | X | X | X | X
Corrective Action Closure Monitoring Report1 |  | X | X | X | X
Task: | Month
| 0 | 3 | 6 | 9 | 12 | 18 | 24 | 30 | 36 | 42 | 48
Soil Monitoring and Sampling | [6 empty] | X |  |  |  | X
Ground Water Monitoring and Sampling | X | X | X | X | X | X | X | X | X | X | X
Free Product Monitoring | Performed as described in task definition
Drinking Water Supply Monitoring and Sampling | X | X | X | X | X | X | X | X | X | X | X
Surface Water Monitoring and Sampling | X | X | X | X | X | X | X | X | X | X | X
Vapor Monitoring and Sampling | X | X | X | X | X | X | X | X | X | X | X
CAS Monitoring and Sampling | X | X | X | X | X | X | X | X | X | X | X
Permit Monitoring and Sampling | Performed as required by permit
Land, Water Use and Receptor Monitoring and Sampling | X | X | X | X | X | X | X | X | X | X | X
1 - After corrective action, Division approval required before implementing
X - Event or Task performed

## PotentDataTable
Potentiometric Data Table
Facility name: | [7 empty] | Facility ID #:
Monitoring well number or sample location | Date | Top of casing elevation (ft MSL1) | Top of screen elevation2 (ft MSL) | Total depth of well (ft) | Bottom screen elevation2 (ft MSL) | Depth to product (ft) | Depth to water (ft) | Product thickness (ft) | Water surface elevation (ft MSL) | Adjusted3 potentiometric surface elevation (ft MSL) | Potentiometric surface within screen interval? (Yes/No)2
MW-1 | 2001-02-01 | 866.55 | 856.66 | 43 | 823.05 | 13.77 | 14.77 | 1 | 851.78 | 852.58 | Yes
(example) | 2001-08-01 |  |  |  |  | 16.52 | 16.93 | 0.41 | 849.62 | 849.948 | Yes
| 2002-02-01 |  |  |  |  | 9.05 | 9.47 | 0.42 | 857.08 | 857.416 | No
1 = Mean Sea Level
2 = If open hole well, then not applicable (N/A)
3 = Specific gravity of product = 0.80: Adjusted Potentiometric Surface Elevation = Water Surface Elevation + (0.80 x Product Thickness)
= cells containing formulas

## Soil Results Table
Soil Analytical Results Table
Facility name: |  |  |  |  | Facility ID #:
Sample location | Sample date | Sample depth (ft) | PID or OVD reading2 (ppm) | Chemical of concern (ppm) (mg/kg)1
|  |  |  | Benzene | Ethylbenzene | Toluene | Total Xylenes | MtBE | Naphthalene
MW-1 (Example) | 2009-04-15 | 4 - 6
12 - 14
14 - 16
Applicable RBCL or SSCL3 (ppm):
1 = Only list the applicable COC's
2 = Photo ionization detector or organic vapor detector, properly calibrated prior to use
3 = Risk Based Cleanup Level or Site Specific Cleanup Level
If the sample result for any COC is reported to be below the laboratory detection limit (i.e., “ND”, “BDL”, “<number”, etc.), then enter a less than (<) symbol followed by the actual reported detection limit that appears on the laboratory analytical sheet. For example, if the sample results are below the reported laboratory analytical detection limit and referenced limit is “<0.005 mg/l”, then enter “<0.005

## WaterAnalResultsTable
Water Analytical Results Table
Facility name: | [17 empty] | Facility ID #:
Sample location | Sample date | Chemical of concern (ppm)1
|  | Benzene | Ethylbenzene | Toluene | Total Xylenes | MtBE | Acenaphthene | Acenaphthylene | Anthracene | Benzo(a)anthracene | Benzo(a)pyrene | Benzo(b)fluoranthene | Benzo(g,h,i,)perylene | Benzo(k)fluoranthene | Chrysene | Dibenzo(a,h)anthracene | Fluoranthene | Fluorene | Indeno(1,2,3-c,d)pyrene | Naphthalene | Phenanthrene | Pyrene | Lead
MW-1 (Example) | 2009-02-01
2009-07-01
2010-02-01
Applicable RBCL or SSCL (ppm):
1 = Only list the applicable COC's
2 = Risk Based Cleanup Level or Site Specific Cleanup Level
If the sample result for any COC is reported to be below the laboratory detection limit (i.e., “ND”, “BDL”, “<number”, etc.), then enter a less than (<) symbol followed by the actual reported detection limit that appears on the laboratory analytical sheet. For example, if the sample results are below the reported laboratory analytical detection limit and referenced limit is “<0.005 mg/l”, then enter “<0.005

## Influent-Effluent Table
Influent/Effluent Analytical Results Table
Facility name: |  |  |  |  | Facility ID #:
Sample location | Sample date | Permit required analytical parameters (ppm)1
|  | Benzene | Ethylbenzene | Toluene | Total Xylenes | MtBE | Naphthalene | Other Parameter | Other Parameter | Other Parameter
Influent2
Effluent
Applicable permit requirements (ppm)
1 = Only list the applicable permit parameters
2 = Only parameters approved by the Division

## VaporMonResultsTable
Vapor Monitoring Results Table
Facility name: |  |  |  |  | Facility ID #:
Sample location1 | Date | Make & model of the PID or OVD2 used for this monitoring event: | Date PID or OVD last calibrated | PID or OVD reading (ppm)3 | Is the current PID or OVD reading higher, lower, or the same as the previous result? | If reading is higher, what action has been taken?
Storm Grate "A" - See Figure 1 (Example) | 2009-02-01 | Microtip HL20 | 2009-02-01 | 0 | -
| 2009-08-01 | Microtip HL20 | 2009-08-01 | 0 | same
| 2010-02-01 | Microtip HL20 | 2010-02-01 | 1 | higher | None, not significant change.
1 = Sample location must correspond to a site map that designates the vapor monitoring locations
2 = Photo Ionization Detector or Organic Vapor Detector
3 = Parts Per Million

## Vacuum Monitoring Results Table
Vacuum Monitoring Results Table
Facility name: | [11 empty] | Facility ID #:
Date | Liquid ring pump (in Hg) | RW - 1 (in Hg) |  | RW - 2 (in Hg) |  | RW - 3 (in Hg) |  | RW - 4 (in Hg) |  | MW-1 (in H2O) | MW-2 (in H2O) | MW-3 (in H2O) | MW-4 (in H2O) | MW-5 (in H2O) | MW-6 (in H2O)
|  | Drop tube | Extraction well | Drop tube | Extraction well | Drop tube | Extraction well | Drop tube | Extraction well
(Example)
2009-02-01 | 19 | 17 | 16 | [6 empty] | 2
2009-08-01 | 24 | 21 | 19 | [6 empty] | 1
2010-02-01 | 21 | 17 | 14 | [6 empty] | 0.5

## CAS Runtime Table
Corrective Action System Monthly Runtime Table
Page 1
Facility name: | [5 empty] | Facility ID #: |  |  |  |  | Year:
Day | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
hours/day
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
Corrective Action System Monthly Runtime Table
Page 2
Facility name: | Facility ID #: Jun: Facility ID #:; Year: Nov: Year:
Day | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
hours/day
16
17
18
19
20
21
22
23
24
25
26
27
28
29 | bar: Feb
30 | bar: Feb
31 | bar: Feb; Apr; Facility ID #: Jun; Facility ID #: Sep; Year: Nov
Total downtime hrs/month | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total possible runtime hrs/month | 734 | 710 | 734 | 710 | 734 | 710 | 734 | 734 | 710 | 734 | 710 | 734
Percent runtime | bar: Jan to Year: Dec
>85% runtime (Yes/No) | bar: Jan to Year: Dec
= cells containing formulas

## CAS Emissions Table
Corrective Action System Air Emissions Monitoring Table
Facility name: | [6 empty] | Facility ID #:
CAS activation date & time: |  | 2009-02-15 |  |  | Organic vapor detector (OVD) model:
Liquid ring pump air emissions
Liquid ring pump air emissions stack diameter in inches: |  |  |  | 3 | Default molecular weight of contaminant in g/mole: |  |  |  | 75
Date & time readings taken | CAS operating (arrival/departure) (Yes/No) | Emissions air velocity (fpm) | Emissions air flow (cfm) |  | Emissions OVD reading (ppm) | Operational time (days) | Average H-carbon removed (lbs./day) | H-carbon removed per period (lbs.) (between readings) | Cumulative H-carbon removed (lbs.)
(Example)
2009-02-15 | Yes/Yes | 1200 | 58.875 |  | 13250 | - | - | - | -
2009-03-16 10:00 | Yes/Yes | 950 | 46.6094 |  | 925 | 29.4167 | 117.1342 | 3445.6972 | 3445.6972
2009-04-17 12:00 | No*/No | 825 | 40.4766 |  | 500 | 32.0833 | 9.0143 | 289.2104 | 3734.9076
2009-05-15 13:00 | No/Yes | 901 | 44.2053 |  | 302 | 28.0417 | 4.7793 | 134.0189 | 3868.9265
2009-06-12 14:30 | Yes/Yes | 1050 | 51.5156 |  | 45 | 28.0625 | 2.2294 | 62.5634 | 3931.4899
Air stripper air emissions
Air stripper air emmisions stack diameter in inches: |  |  |  | 8 | Default molecular weight of contaminant in g/mole: |  |  |  | 75
Date & time readings taken | CAS operating (arrival/departure) (Yes/No) | Emissions Air Velocity (fpm) | Emissions air flow (cfm) |  | Emissions OVD reading (ppm) | Operational time (days) | Average H-carbon removed (lbs./day) | H-carbon removed per period (lbs.) (between readings) | Cumulative H-carbon removed (lbs.)
(Example)
2009-02-15 | Yes/Yes | 588 | 205.1467 |  | 505 | - | - | - | -
2009-03-16 10:00 | Yes/Yes | 404 | 140.9511 |  | 250 | 29.4167 | 19.7551 | 581.129 | 581.129
2009-04-17 12:00 | No*/No | 455 | 158.7444 |  | 101.1 | 32.0833 | 7.2976 | 234.1315 | 815.2605
2009-05-15 13:00 | No/Yes | 405 | 141.3 |  | 36 | 28.0417 | 3.0074 | 84.3331 | 899.5936
2009-06-12 14:30 | Yes/Yes | 392 | 136.7644 |  | 0.5 | 28.0625 | 0.73353 | 20.5847 | 920.1783
[5 empty] | Cumulative H-carbon (lbs.) emissions from CAS since activation: |  |  |  | 4851.6682
Emission calculations: (insert rows as needed)
Hydrocarbon discharge rate (lbs./hour) = (Q x C x MW x 1.581E-7), where:
Q = discharge airflow (cfm) = discharge velocity (fpm) x 3.14 x [(discharge pipe diameter (inches) / 2) / 12 inches/foot]2
C = Vapor gas concentration (ppm)
MW = molecular weight of contaminant (grams/mole)
Average hydrocarbon removed (lbs./day) = [(previous hydrocarbon discharge rate (lbs./hr) + current hydrocarbon discharge rate (lbs./hr)) / 2] x 24 hours/day
Hydrocarbon removed per period (lbs.) = average hydrocarbon removed (lbs./day) x operational time (days)
Cumulative hydrocarbon removed (lbs.) = hydrocarbon removed per period (lbs.) + previous cumulative hydrocarbon removed (lbs.)
* = Telemetry notified CAS system was not operating (previous CAS information utilized to determine the approximate amount of discharged during CAS operation.)
= cells containing formulas

## CAS Performance Data Table
CAS Performance Data Table
Facility name: | Facility ID #:
Date of site visit
Effluent air discharge velocity in fpm
Effluent air discharge temperature in oF
Effluent air discharge OVA reading in ppm
Air/water separator vacuum:
Liquid ring pump vacuum:
Liquid ring pump temperature:
Air stripper pressure:
Air compressor operating pressure:
GW bag filter pre-filter pressure:
GW bag filter post-filter pressure:
Carbon vessel #1 pressure:
Carbon vessel #2 pressure:
After carbon vessel #2 pressure:
Hour meter reading:
Electric meter reading:
AWS water transfer pump flow rate:
Water discharge pump flow rate:
Water discharge meter reading:
Data for this table is recorded in the CASFLs

## Ext Well Performance Data Table
Extraction Well Performance Data Table
Facility name: | Facility ID #:
Date of site visit
Liquid ring pump vacuum:
Well number:
Well depth: (feet)
Well top of screen depth: (feet)
Well vacuum: (inches Hg)
Drop tube vacuum: (inches Hg)
Drop tube inlet depth: (feet)
Bleed air being introduced: (Yes/No)
Supplied air being introduced: (Yes/No)
Electric pump present: (Yes/No)
Electric pump operating: (Yes/No)
Well number:
Well depth: (feet)
Well top of screen depth: (feet)
Well vacuum: (inches Hg)
Drop tube vacuum: (inches Hg)
Drop tube inlet depth: (feet)
Bleed air being introduced: (Yes/No)
Supplied air being introduced: (Yes/No)
Electric pump present: (Yes/No)
Electric pump operating: (Yes/No)
If supplied air or electric pumps are not being used, then omit the corresponding rows
Data for this table is recorded in the CASFLs
Expand table as needed

## System Status & Inspection Tabl
System Status and Inspection Table
Facility name: |  | Facility ID #:
Date of site visit | Routine O&M visit | Detailed purpose and activites of site visit | CAS operating upon departure
|  Yes  No |  |  Yes  No
|  Yes  No |  |  Yes  No
|  Yes  No |  |  Yes  No
|  Yes  No |  |  Yes  No
|  Yes  No |  |  Yes  No
|  Yes  No |  |  Yes  No
|  Yes  No |  |  Yes  No
|  Yes  No |  |  Yes  No
|  Yes  No |  |  Yes  No
|  Yes  No |  |  Yes  No
|  Yes  No |  |  Yes  No
|  Yes  No |  |  Yes  No
|  Yes  No |  |  Yes  No
|  Yes  No |  |  Yes  No
|  Yes  No |  |  Yes  No
|  Yes  No |  |  Yes  No
|  Yes  No |  |  Yes  No
|  Yes  No |  |  Yes  No
|  Yes  No |  |  Yes  No
|  Yes  No |  |  Yes  No
|  Yes  No |  |  Yes  No
|  Yes  No |  |  Yes  No
Expand table as needed