## Instructions Sheet
TDEC DoR-OR Invitation To Bid (ITB) - Attachment 1
Instructions Sheet
Instructions for ITB Bid Sheet

## ITB Bidsheet
TDEC DoR-OR Invitation To Bid (ITB) Analytical Tests
Division of Remediation, Oak Ridge Office (DoR-OR)
761 Emory Valley Rd.
Analytical Tests | Chemical Abstracts Services Registry Number (CAS #) or | Sample Matrix | TDEC DoR-OR Needed Analytical Method(s) | TDEC DoR-OR Needed WATER Reporting Limit (RL) | Laboratory Minimum Detection Limit (MDL) | Cost Per Test with Level 2 QC Data Package (** KEY) | Cost Per Test with Level 4 QC Data Package (*** KEY) | Estimated Sampling Quantities | Total Cost
| See (4th Tab) General Information Table 1 |  | or Enter Laboratory Equivalent | for TN AWQC (µg/L) or EPA LHAL (ng/L) - (* KEY) | Responding Lab please provide MDL | Enter Costs Below | Enter Costs Below | See (3rd tab) Estimated Sampling Quantities | (**** KEY)
General Inorganics (all Water except Particle Size Distribution)
Alkalinity (total) | NA | Water | EPA 310.2 |  |  | 0 | 0 | 150 | 0
Ammonia | 7664-41-7 | Water | EPA-350.1 |  |  | 0 | 0 | 150 | 0
Bromide | 24959-67-9 | Water | EPA-300.0 |  |  | 0 | 0 | 150 | 0
Chloride | 16887-00-6 | Water | EPA-300.0 |  |  | 0 | 0 | 150 | 0
COD | NA | Water | EPA-5220-C |  |  | 0 | 0 | 150 | 0
Cyanide | 57-12-5 | Water | SW846-9016 | ≤ 140 |  | 0 | 0 | 150 | 0
Fluoride | 16984-48-8 | Water | EPA-300.0 |  |  | 0 | 0 | 150 | 0
Hexavalent chromium | 18540-29-9 | Water | SW846-7199 |  |  | 0 | 0 | 150 | 0
Inorganic Anions by IC | NA | Water | EPA 300.0 |  |  | 0 | 0 | 150 | 0
Nitrate | 14797-55-8 | Water | EPA-300.0 |  |  | 0 | 0 | 150 | 0
Nitrate and nitrite (as nitrogen) | NA | Water | EPA-353.2 |  |  | 0 | 0 | 150 | 0
Nitrite | 14797-65-0 | Water | EPA-300.0 |  |  | 0 | 0 | 150 | 0
Orthophosphate | 9066-91-5 | Water | EPA-300.0 |  |  | 0 | 0 | 150 | 0
Particle size distribution (sediment) | NA | Sediment | ASTM-D7928 |  |  | 0 | 0 | 15 | 0
Phosphorus (total) | 7723-14-0 | Water | EPA-365.1 |  |  | 0 | 0 | 150 | 0
Sulfate | 14808-79-8 | Water | EPA-300.0 |  |  | 0 | 0 | 150 | 0
Sulfide | 18496-25-8 | Water | SM-4500-S2-F |  |  | 0 | 0 | 150 | 0
Total dissolved solids (TDS) | NA | Water | SM-2540-C |  |  | 0 | 0 | 150 | 0
Total suspended solids (TSS) | NA | Water | SM-2540-D |  |  | 0 | 0 | 150 | 0
Total solids | NA | Water | SM-2540-B |  |  | 0 | 0 | 150 | 0
Total kjeldahl nitrogen | Nitrogen 7727-37-9 | Water | EPA-351.2 |  |  | 0 | 0 | 150 | 0
Total organic carbon | Carbon 7440-44-0 | Water | SW846-9060 |  |  | 0 | 0 | 150 | 0
Mercury in air filters | 7439-97-6 | Air filters | SW846-7471 |  |  | 0 | 0 | 80 | 0
Mercury in biota | 7439-97-6 | Biota | SW846-7471 |  |  | 0 | 0 | 25 | 0
Mercury in fish | 7439-97-6 | Fish | SW846-7471 |  |  | 0 | 0 | 10 | 0
Mercury in milk | 7439-97-6 | Milk | SW846-7471 |  |  | 0 | 0 | 10 | 0
Mercury in sediment | 7439-97-6 | Sediment | SW846-7471 |  |  | 0 | 0 | 15 | 0
Mercury in sludge | 7439-97-6 | Sludge | SW846-7471 |  |  | 0 | 0 | 5 | 0
Mercury in solids | 7439-97-6 | Solids | SW846-7471 |  |  | 0 | 0 | 25 | 0
Mercury in vegetable | 7439-97-6 | Vegetable | SW846-7471 |  |  | 0 | 0 | 10 | 0
Mercury in waste | 7439-97-6 | Waste | SW846-7471 |  |  | 0 | 0 | 5 | 0
Mercury in water | 7439-97-6 | Water | SW846-7470 |  |  | 0 | 0 | 150 | 0
Metals analysis by ICP-MS in air filters | Metals ICP-MS | Air filters | EPA-200.8 |  |  | 0 | 0 | 80 | 0
Metals analysis by ICP-MS in biota | Metals ICP-MS | Biota | EPA-200.8 |  |  | 0 | 0 | 25 | 0
Metals analysis by ICP-MS in fish | Metals ICP-MS | Fish | EPA-200.8 |  |  | 0 | 0 | 10 | 0
Metals analysis by ICP-MS in milk | Metals ICP-MS | Milk | EPA-200.8 |  |  | 0 | 0 | 10 | 0
Metals analysis by ICP-MS in sediment | Metals ICP-MS | Sediment | EPA-200.8 |  |  | 0 | 0 | 15 | 0
Metals analysis by ICP-MS in sludge | Metals ICP-MS | Sludge | EPA-200.8 |  |  | 0 | 0 | 5 | 0
Metals analysis by ICP-MS in solids | Metals ICP-MS | Solids | EPA-200.8 |  |  | 0 | 0 | 25 | 0
Metals analysis by ICP-MS in vegetable | Metals ICP-MS | Vegetable | EPA-200.8 |  |  | 0 | 0 | 10 | 0
Metals analysis by ICP-MS in waste | Metals ICP-MS | Waste | EPA-200.8 |  |  | 0 | 0 | 5 | 0
Metals analysis by ICP-MS in water | Metals ICP-MS | Water | EPA-200.8 | See General Information Table 1 for NEEDED RL | See General Information Table 1 for MDL | 0 | 0 | 150 | 0
Metals analysis by ICP-OES (includes Fe ,K ,Mg ,Ca ,Na) in air filters | Metals ICP-OES | Air filters | EPA-200.7 |  |  | 0 | 0 | 80 | 0
Metals analysis by ICP-OES (includes Fe ,K ,Mg ,Ca ,Na) in biota | Metals ICP-OES | Biota | EPA-200.7 |  |  | 0 | 0 | 25 | 0
Metals analysis by ICP-OES (includes Fe ,K ,Mg ,Ca ,Na) in fish | Metals ICP-OES | Fish | EPA-200.7 |  |  | 0 | 0 | 10 | 0
Metals analysis by ICP-OES (includes Fe ,K ,Mg ,Ca ,Na) in milk | Metals ICP-OES | Milk | EPA-200.7 |  |  | 0 | 0 | 10 | 0
Metals analysis by ICP-OES (includes Fe ,K ,Mg ,Ca ,Na) in sediment | Metals ICP-OES | Sediment | EPA-200.7 |  |  | 0 | 0 | 15 | 0
Metals analysis by ICP-OES (includes Fe ,K ,Mg ,Ca ,Na) in sludge | Metals ICP-OES | Sludge | EPA-200.7 |  |  | 0 | 0 | 5 | 0
Metals analysis by ICP-OES (includes Fe ,K ,Mg ,Ca ,Na) in solids | Metals ICP-OES | Solids | EPA-200.7 |  |  | 0 | 0 | 25 | 0
Metals analysis by ICP-OES (includes Fe ,K ,Mg ,Ca ,Na) in vegetable | Metals ICP-OES | Vegetable | EPA-200.7 |  |  | 0 | 0 | 10 | 0
Metals analysis by ICP-OES (includes Fe ,K ,Mg ,Ca ,Na) in waste | Metals ICP-OES | Waste | EPA-200.7 |  |  | 0 | 0 | 5 | 0
Metals analysis by ICP-OES (includes Fe ,K ,Mg ,Ca ,Na) in water | Metals ICP-OES | Water | EPA-200.7 | See General Information Table 1 for NEEDED RL | See General Information Table 1 for MDL | 0 | 0 | 150 | 0
Total hardness | NA | Water | ASTM-D1126, Calculated |  |  | 0 | 0 | 150 | 0
Semivolatile in air filters | SV | Air filters | SW846-8270 |  |  | 0 | 0 | 80 | 0
Semivolatile in biota | SV | Biota | SW846-8270 |  |  | 0 | 0 | 25 | 0
Semivolatile in fish | SV | Fish | SW846-8270 |  |  | 0 | 0 | 10 | 0
Semivolatile in milk | SV | Milk | SW846-8270 |  |  | 0 | 0 | 10 | 0
Semivolatile in sediment | SV | Sediment | SW846-8270 |  |  | 0 | 0 | 15 | 0
Semivolatile in sludge | SV | Sludge | SW846-8270 |  |  | 0 | 0 | 5 | 0
Semivolatile in solids | SV | Solids | SW846-8270 |  |  | 0 | 0 | 25 | 0
Semivolatile in vegetable | SV | Vegetable | SW846-8270 |  |  | 0 | 0 | 10 | 0
Semivolatile in waste | SV | Waste | SW846-8270 |  |  | 0 | 0 | 5 | 0
Semivolatile in water | SV | Water | SW846-8270 | See General Information Table 1 for NEEDED RL | See General Information Table 1 for MDL | 0 | 0 | 150 | 0
Volatile in air filters | VOA | Air filters | SW846-8260 |  |  | 0 | 0 | 80 | 0
Volatile in biota | VOA | Biota | SW846-8260 |  |  | 0 | 0 | 25 | 0
Volatile in fish | VOA | Fish | SW846-8260 |  |  | 0 | 0 | 10 | 0
Volatile in milk | VOA | Milk | SW846-8260 |  |  | 0 | 0 | 10 | 0
Volatile in sediment | VOA | Sediment | SW846-8260 |  |  | 0 | 0 | 15 | 0
Volatile in sludge | VOA | Sludge | SW846-8260 |  |  | 0 | 0 | 5 | 0
Volatile in solids | VOA | Solids | SW846-8260 |  |  | 0 | 0 | 25 | 0
Volatile in vegetable | VOA | Vegetable | SW846-8260 |  |  | 0 | 0 | 10 | 0
Volatile in waste | VOA | Waste | SW846-8260 |  |  | 0 | 0 | 5 | 0
Volatile in water | VOA | Water | SW846-8260 | See General Information Table 1 for NEEDED RL | See General Information Table 1 for MDL | 0 | 0 | 150 | 0
Total Final Cost | [8 empty] | 0
Key:
* TN AWQC = State of Tennesse Ambient Water Quality Criteria, EPA LHAL = EPA Lifetime Health Advisory Limits
** Level 2 QC Package: Sample Results, Laboratory Method Blank, Laboratory Control Sample (LCS/LCSD), Laboratory Matrix Spike (MS/MSD), and Level 2 EDD
*** Level 4 QC Package: Sample Results, ALL Level 4, and Level 4 EDD
**** Assume Level 2 QC Package for Bid costs. Please provide Level 4 QC Package cost, if appropriate, if needed in future but it is not the norm

## Estimated Sampling Quantities
TDEC DoR-OR Invitation To Bid (ITB)
ITB Bid Sheet
Division of Remediation, Oak Ridge Office (DoR-OR)
| 761 Emory Valley Rd. | 865-481-0995
Group | Analysis Type | Basic Method | Media that may be sampled (estimated quantity of samples annually)
|  |  | air filters | biota | fish tissue | milk | sediment | sludge | solids | vegetables | waste | water
1 | Metals ICP-MS | EPA-200.8 | 80 | 25 | 10 | 10 | 15 | 5 | 25 | 10 | 5 | 150
| Metals ICP-OES | EPA-200.7 | 80 | 25 | 10 | 10 | 15 | 5 | 25 | 10 | 5 | 150
| Semi VOAs | SW846-8270 | 80 | 25 | 10 | 10 | 15 | 5 | 25 | 10 | 5 | 150
| VOA | SW846-8260 | 80 | 25 | 10 | 10 | 15 | 5 | 25 | 10 | 5 | 150
| Inorganic Anions by IC | EPA 300.0 | [9 empty] | 150
| Alkalinity (total) | SM-2320-B, EPA 310.2 | [9 empty] | 150
| Ammonia | EPA-350.1 | [9 empty] | 150
| COD | EPA-5220-C | [9 empty] | 150
| Cyanide | SW846-9016, SM-4500-CN-E | [9 empty] | 150
| Hexavalent chromium | SW846-7199, ASTM-D5257 | [9 empty] | 50
| Nitrate and nitrite (as nitrogen) | EPA-353.2 | [9 empty] | 150
| Particle size distribution (sediment) | ASTM-D7928 |  |  |  |  | 15
| Phosphorus (total) | EPA-365.1 | [9 empty] | 150
| Sulfide | SM-4500-S2-F | [9 empty] | 150
| Total dissolved solids (TDS) | SM-2540-C | [9 empty] | 150
| Total suspended solids (TSS) | SM-2540-D | [9 empty] | 150
| Total solids | SM-2540-B | [9 empty] | 150
| Total kjeldahl nitrogen | EPA-351.2 | [9 empty] | 150
| Total organic carbon | SW846-9060 | [9 empty] | 150
| Mercury | SW846-7470, SW846-7471 | 80 | 25 | 10 | 10 | 15 | 5 | 25 | 10 | 5 | 150

## General Information Table 1
TDEC DoR-OR ITB Analytical Water Test Table
Analytical Fraction Test Table | Analyte | Chemical Abstract Services Registry Number | TDEC DoR-OR Needed WATER Reporting Limit (RL) | Laboratory Minimum Detection Limit (MDL) WATER
|  | CAS # | TN AWQC's (µg/L) or EPA LHAL (ng/L) for PFAs- (* KEY) | Responding Lab please provide MDL
Metals ICP-MS | Aluminum | 7429-90-5
Metals ICP-MS | Antimony | 7440-36-0 | ≤ 5.6
Metals ICP-MS | Arsenic | 7440-38-2 | ≤ 10
Metals ICP-MS | Barium | 7440-39-3
Metals ICP-MS | Beryllium | 7440-41-7
Metals ICP-MS | Cadmium | 7440-43-9
Metals ICP-MS | Chromium | 7440-47-3
Metals ICP-MS | Cobalt | 7440-48-4
Metals ICP-MS | Copper | 7440-50-8
Metals ICP-MS | Lead | 7439-92-1
Metals ICP-MS | Manganese | 7439-96-5
Metals ICP-MS | Molybdenum | 7439-98-7
Metals ICP-MS | Nickel | 7440-02-0 | ≤ 610
Metals ICP-MS | Selenium | 7782-49-2 | ≤ 170
Metals ICP-MS | Silver | 7440-22-4
Metals ICP-MS | Thallium | 7440-28-0 | ≤ 0.24
Metals ICP-MS | Thorium (NOT in ICP-OES) | 7440-29-1
Metals ICP-MS | Uranium (NOT in ICP-OES) | 7440-61-1
Metals ICP-MS | Vanadium | 7440-62-2
Metals ICP-MS | Zinc | 7440-66-6 | ≤ 7400
Metals ICP-OES | Aluminum | 7429-90-5
Metals ICP-OES | Antimony | 7440-36-0 | ≤ 5.6
Metals ICP-OES | Arsenic | 7440-38-2 | ≤ 10
Metals ICP-OES | Barium | 7440-39-3
Metals ICP-OES | Beryllium | 7440-41-7
Metals ICP-OES | Boron (NOT in ICP-MS) | 7440-42-8
Metals ICP-OES | Cadmium | 7440-43-9
Metals ICP-OES | Calcium (NOT in ICP-MS) | 7440-70-2
Metals ICP-OES | Cerium (NOT in ICP-MS) | 7440-45-1
Metals ICP-OES | Chromium | 7440-47-3
Metals ICP-OES | Cobalt | 7440-48-4
Metals ICP-OES | Copper | 7440-50-8
Metals ICP-OES | Iron (NOT in ICP-MS) | 7439-89-6
Metals ICP-OES | Lead | 7439-92-1
Metals ICP-OES | Lithium (NOT in ICP-MS) | 7439-93-2
Metals ICP-OES | Magnesium (NOT in ICP-MS) | 7439-95-4
Metals ICP-OES | Manganese | 7439-96-5
Metals ICP-OES | Mercury (NOT in ICP-MS) | 7439-97-6
Metals ICP-OES | Molybdenum | 7439-98-7
Metals ICP-OES | Nickel | 7440-02-0
Metals ICP-OES | Phosphorus (NOT in ICP-MS) | 7723-14-0
Metals ICP-OES | Potassium (NOT in ICP-MS) | 7440-09-7
Metals ICP-OES | Selenium | 7782-49-2
Metals ICP-OES | Silica (NOT in ICP-MS) | 7631-86-9
Metals ICP-OES | Silver | 7440-22-4
Metals ICP-OES | Sodium (NOT in ICP-MS) | 7440-23-5
Metals ICP-OES | Strontium (NOT in ICP-MS) | 7440-24-6
Metals ICP-OES | Thallium | 7440-28-0 | ≤ 0.24
Metals ICP-OES | Tin (NOT in ICP-MS) | 7440-31-5
Metals ICP-OES | Titanium (NOT in ICP-MS) | 7440-32-6
Metals ICP-OES | Vanadium | 7440-62-2
Metals ICP-OES | Zinc | 7440-66-6 | ≤ 7400
Semivolatiles (SV) | 1,2,4-Trichlorobenzene | 120-82-1 | ≤ 35
SV | 1,2-Dichlorobenzene | 95-50-1 | ≤ 420
SV | 1,3-Dichlorobenzene | 541-73-1 | ≤ 320
SV | 1,4-Dichlorobenzene | 106-46-7 | ≤ 63
SV | 1,2-Diphenylhydrazine | 122-66-7 | ≤ 0.36
SV | 1,2,4,5-Tetrachlorobenzene | 95-94-3 | ≤ 0.97
SV | 2,4,5-Trichlorophenol | 95-95-4 | ≤ 1800
SV | 2,4,6-Trichlorophenol | 88-06-2 | ≤ 14
SV | 2,4-Dichlorophenol | 120-83-2 | ≤ 77
SV | 2,4-Dimethylphenol | 105-67-9 | ≤ 380
SV | 2,4-Dinitrophenol | 51-28-5 | ≤ 69
SV | 2,4-Dinitrotoluene | 121-14-2 | ≤ 1.1
SV | 2,6-Dinitrotoluene | 606-20-2
SV | 2-Chloronaphthalene | 91-58-7 | ≤ 1000
SV | 2-Chlorophenol | 95-57-8 | ≤ 81
SV | 2-Methylnaphthalene | 91-57-6
SV | 2-Methylphenol | 95-48-7
SV | 2-Nitroaniline | 88-74-4
SV | 2-Nitrophenol | 88-75-5
SV | 3-Methylphenol | 108-39-4
SV | 4-Methylphenol | 106-44-5
SV | 3,3'-Dichlorobenzidine | 91-94-1 | ≤ 0.21
SV | 3-Nitroaniline | 99-09-2
SV | 2-Methyl-4,6-dinitrophenol | 534-52-1 | ≤ 13
SV | 4-Bromophenyl phenyl ether | 101-55-3
SV | 4-Chloro-3-methylphenol | 59-50-7
SV | 4-Chloroaniline | 106-47-8
SV | 4-Chlorophenyl phenyl ether | 7005-72-3
SV | 4-Nitroaniline | 100-01-6
SV | 4-Nitrophenol | 100-02-7
SV | Acenaphthene | 83-32-9 | ≤ 670
SV | Acenaphthylene | 208-96-8
SV | Anthracene | 120-12-7 | ≤ 8300
SV | Benzo(a)anthracene | 56-55-3 | ≤ 0.038
SV | Benzo(a)pyrene | 50-32-8 | ≤ 0.038
SV | Benzo(b)fluoranthene | 205-99-2 | ≤ 0.038
SV | Benzo(g,h,i)perylene | 191-24-2
SV | Benzo(k)fluoranthene | 207-08-9 | ≤ 0.038
SV | Benzidine | 92-87-5 | ≤ 0.00086
SV | Benzoic acid | 65-85-0
SV | Benzyl alcohol | 100-51-6
SV | Bis(2-chloro-isopropyl)ether | 108-60-1 | ≤ 1400
SV | Bis(2-chloroethoxy)methane | 111-91-1
SV | Bis(2-chloroethyl)ether | 111-44-4 | ≤ 0.30
SV | Bis(2-chloromethyl)ether | 542-88-1 | ≤ 0.0010
SV | Bis(2-ethylhexyl)phthalate | 117-81-7 | ≤ 12
SV | Butyl benzyl phthalate | 85-68-7 | ≤ 1500
SV | Carbazole | 86-74-8
SV | Chrysene | 218-01-9 | ≤ 0.038
SV | Di-n-butyl phthalate | 84-74-2 | ≤ 2000
SV | Di-n-octyl phthalate | 117-84-0
SV | Dibenzo(a,h)anthracene | 53-70-3 | ≤ 0.038
SV | Dibenzofuran | 132-64-9
SV | Diethyl phthalate | 84-66-2 | ≤ 17000
SV | Dimethyl phthalate | 131-11-3 | ≤ 270000
SV | Fluoranthene | 206-44-0 | ≤ 130
SV | Fluorene | 86-73-7 | ≤ 1100
SV | Hexachlorobenzene | 118-74-1 | ≤ 0.0028
SV | Hexachlorobutadiene | 87-68-3 | ≤ 4.4
SV | Hexachlorocyclohexane-technical | 58-89-9 | ≤ 0.123
SV | Hexachlorocyclopentadiene | 77-47-4 | ≤ 40
SV | Hexachloroethane | 67-72-1 | ≤ 14
SV | Indeno(1,2,3-cd)pyrene | 193-39-5 | ≤ 0.038
SV | Isophorone | 78-59-1 | ≤ 350
SV | Nitrosamines | 62-75-9 | ≤ 0.0008
SV | n-Nitrosodibutylamine | 924-16-3 | ≤ 0.063
SV | n-Nitrosodiethylamine | 55-18-5 | ≤ 0.008
SV | n-Nitrosodimethylamine | 62-75-9 | ≤ 0.0069
SV | n-Nitrosodipropylamine | 621-64-7 | ≤ 0.05
SV | n-Nitrosodiphenylamine | 86-30-6 | ≤ 33
SV | Nitrosopyrrolidine | 930-55-2 | ≤ 0.16
SV | Napthalene | 91-20-3
SV | Nitrobenzene | 98-95-3 | ≤ 17
SV | Pentachlorobenzene | 608-93-5 | ≤ 1.4
SV | Pentachlorophenol | 87-86-5 | ≤ 2.7
SV | Phenanthrene | 85-01-8
SV | Phenol | 108-95-2 | ≤ 1000
SV | Pyrene | 129-00-0 | ≤ 830
VOA | 1,1,1-Trichloroethane | 71-55-6
VOA | 1,1,2,2-Tetrachloroethane | 79-34-5 | ≤ 1.7
VOA | 1,1,2-Trichloroethane | 79-00-5 | ≤ 5.9
VOA | 1,1-Dichloroethane | 75-34-3
VOA | 1,1-Dichloroethene | 75-35-4 | ≤ 330
VOA | 1,2-Dichloroethane | 107-06-2 | ≤ 3.8
VOA | 1,2-Dichloropropane | 78-87-5 | ≤ 5.0
VOA | 1,3-Dichloropropene | 542-75-6 | ≤ 3.4
VOA | 2-Butanone | 78-93-3
VOA | 2-Hexanone | 591-78-6
VOA | 4-Methyl-2-pentanone | 108-10-1
VOA | Acetone | 67-64-1
VOA | Acrolein | 107-02-8 | ≤ 6
VOA | Acrylonitrile | 107-13-1 | ≤ 0.51
VOA | Benzene | 71-43-2 | ≤ 22
VOA | Bromodichloromethane | 75-27-4 | ≤ 5.5
VOA | Bromoform | 75-25-2 | ≤ 43
VOA | Bromomethane | 74-83-9 | ≤ 47
VOA | Carbon disulfide | 75-15-0
VOA | Carbon tetrachloride | 56-23-5 | ≤ 2.3
VOA | Chlorobenzene | 108-90-7 | ≤ 130
VOA | Chloroethane | 75-00-3
VOA | Chloroform | 67-66-3 | ≤ 57
VOA | Chloromethane | 74-87-3
VOA | cis-1,2-Dichloroethene | 156-59-2
VOA | cis-1,3-Dichloropropene | 10061-01-5
VOA | Dibromochloromethane | 124-48-1 | ≤ 4.0
VOA | Ethylbenzene | 100-41-4 | ≤ 530
VOA | Methylene chloride | 75-09-2 | ≤ 46
VOA | Styrene | 100-42-5
VOA | Tetrachloroethene | 127-18-4 | ≤ 6.9
VOA | Toluene | 108-88-3 | ≤ 1300
VOA | trans-1,2-Dichloroethene | 156-60-5 | ≤ 140
VOA | trans-1,3-Dichloropropene | 10061-02-6
VOA | Trichloroethene | 79-01-6 | ≤ 25
VOA | Vinyl chloride | 75-01-4 | ≤ 0.25
VOA | Xylenes (total) | 1330-20-7
KEY:
* TN AWQC = State of Tennesse Ambient Water Quality Criteria, EPA LHAL = EPA Lifetime Health Advisory Limits

## TDEC DoR-OR SEDD Format Example
TDEC DoR-OR Invitation To Bid (ITB) - Attachment 3
TDEC-DoR-OR Standard Electronic Data Deliverable Format Example
proj_name | fy_emr | staff_present | weather_notes | event_comments | field_book_name | d_start | d_end | med_type | station_name | station_type | d_collected | t_collected | collected_by | filtered | co_sampled | sample_comments | lab_parameter_name | lab_sample_type | lab_unit | lab_ana_type | lab_results | lab_number | lab_name | qualifier | ana_method | detect_limit | quant_limit | ssmdc | csu | rad_error | dilu_factor | d_analyzed | d_received_from_lab | analyzed_by | lab_results_pdf_filename | order_name | family_name | genus_name | identification_comments
Surface Water Sampling | 2021 | JWB |  |  | SW sampling | 2020-09-09 | 2020-09-09 | surface water | EFK 13.8 | stream | 2020-09-09 | 12:00 | JWB | FALSE | FALSE |  | Alkalinity | routine | mg/L | metals | 153 | N2009064-05 | tdh |  | 2320-B | 10 | [8 empty] | N2009064 | Not Applicable | Not Applicable | Not Applicable
Surface Water Sampling | 2021 | JWB |  |  | SW sampling | 2020-09-09 | 2020-09-09 | surface water | EFK 23.4 | stream | 2020-09-09 | 12:00 | JWB | FALSE | FALSE |  | Alkalinity | routine | mg/L | metals | 127 | N2009064-03 | tdh |  | 2320-B | 10 | [8 empty] | N2009064 | Not Applicable | Not Applicable | Not Applicable
Surface Water Sampling | 2021 | JWB |  |  | SW sampling | 2020-09-09 | 2020-09-09 | surface water | EFK 23.4 | stream | 2020-09-09 | 12:00 | JWB | FALSE | FALSE |  | Alkalinity | field-duplicate | mg/L | metals | 126 | N2009064-04 | tdh |  | 2320-B | 10 | [8 empty] | N2009064 | Not Applicable | Not Applicable | Not Applicable
Surface Water Sampling | 2021 | JWB |  |  | SW sampling | 2020-09-09 | 2020-09-09 | surface water | EFK 24.4 | stream | 2020-09-09 | 12:00 | JWB | FALSE | FALSE |  | Alkalinity | routine | mg/L | metals | 132 | N2009064-02 | tdh |  | 2320-B | 10 | [8 empty] | N2009064 | Not Applicable | Not Applicable | Not Applicable
column name | description
station_name | Name of the sampling location/station
d_collected | Date Collected
t_collected | Time collected in 24 hr format
filtered | true or false if filtered or not
lab_parameter_name | Name of the lab parameter
lab_unit | unit used by lab (e.g, mg/L, ug/L, etc.)
lab_results | Numeric results of laboratory test
lab_number | Lab number or Sample Delivery Group SDG (e.g, TDH uses something similar to N2009064-03)
lab_name | Name of laboratory performing the test
qualifier | result qualifier (e.g., U, J, etc.)
ana_method | Analytical method used for the test
detect_limit | detection limit
quant_limit | quantitation limit
ssmdc | Sample-specific minimum detection concentration
csu | Combined Standard Uncertainty
rad_error | Rad Error
dilu_factor | Dilution Factor
d_analyzed | Date Analyzed by lab
analyzed_by | Person from lab who analyzed the sample
lab_results_pdf_filename | Name of the file (pdf) sent from lab