## Bldg Assessment BP Checklist
TDEC OEP Building Assessment Best Practices Checklist
Building Name: |  |  |  | Completed By (Name):
Building Address: |  |  |  | Email:
Building Ownership (owned/leased): |  |  |  | Phone Number:
Year Built |  |  |  | Date Completed:
Form Updated: March 2023
MEASURE FREQUENCY
ENERGY SAVINGS OPPORTUNITY TYPE | OWNER | ENERGY SAVINGS OPPORTUNITY | DOES THE OPPORTUNITY EXIST? (Y/N/MB) | PURSUE OPPORTUNITY (Y/N/MB) | DLY | WKLY | MTHLY | ANNU | OTHER
OPERATIONS & MAINTENANCE | Facility / Energy Managers | Conduct a nighttime audit to identify any devices/equipment that are operating and using energy outside of office hours that should not be.
OPERATIONS & MAINTENANCE | Facility / Energy Managers | Improve operations and maintenance practices by regularly checking and maintaining equipment to ensure that it’s functioning efficiently.
OPERATIONS & MAINTENANCE | Facility / Energy Managers | Optimize start-up time, power-down time, and equipment sequencing.
OPERATIONS & MAINTENANCE | Facility / Energy Managers | Revise janitorial practices to reduce the hours that lights are turned on each day. Quick Tip: Consider switching to day-cleaning, which takes place while occupants are in the building. Day-cleaning ensures that facility spaces stay cleaner for occupants throughout the day, reducing complaints.
OPERATIONS & MAINTENANCE | Facility / Energy Managers | Visually inspect insulation on all piping, ducting, and equipment for damage (tears, compression, stains, etc.) at least once a year.
OPERATIONS & MAINTENANCE | Facility / Energy Managers | Ask your local utility if they offer free or inexpensive energy audits.
OPERATIONS & MAINTENANCE | Facility / Energy Managers | Request a Level 1 Energy Audit to identify areas where building systems have become inefficient over time and bring them back to peak performance. Quick Tip: These audits can be requested from commercial companies that specialize in consulting, engineering, and construction. Utility vendors may also offer these audits.
OPERATIONS & MAINTENANCE | Facility / Energy Managers | Regularly check for running water, especially toilets, and repair leaking faucets and equipment. Did You Know? A dripping hot water faucet can leak hundreds of gallons per year, while a faulty toilet fill valve can cause a toilet to leak 200 gallons of water per day.
OPERATIONS & MAINTENANCE | Facility / Energy Managers | Central Heating Plant System Check: Conduct boiler efficiency tests, optimize combustion efficiency, check boiler water chemistry, minimize boiler blowdown, optimize steam plant heat balance, minimize deaerator stream venting, and optimize system makeup lines and blowdown lines to detect leaks. Note: These can be completed by appropriately trained maintenance staff or external professionals.
OPERATIONS & MAINTENANCE | Facility / Energy Managers | Thermal Distribution System Check: Inspect/replace steam coils and traps, inspect/repair condensate return equipment, locate/repair steam leaks, repair/add insulation, isolate non-essential distribution piping, and reduce distribution pressure. Note: This may require assistance from an external professional for repairs and replacement.
OPERATIONS & MAINTENANCE | Facility / Energy Managers | Check/adjust combustion efficiency of gas-fired equipment. Refer to the equipment manufacturer's specifications.
OPERATIONS & MAINTENANCE | Facility / Energy Managers | Look for cracks or areas that could be leaking air and seal them.
OPERATIONS & MAINTENANCE | Facility / Energy Managers | Ensure weatherstripping around doors is in good condition and replace as needed. For high traffic doors, seal wear probably occurs more rapidly. Be sure to include the door sweep as one of the seals. Did You Know? With installation of new weather stripping on the doors, infiltration of outdoor air and exfiltration of conditioned air will be controlled. This could result in approximately 5% - 10% in energy savings.
OPERATIONS & MAINTENANCE | Facility / Energy Managers | Inspect air outlets and inlets in all rooms and remove obstructions as necessary. Post signs instructing occupants to not place objects where they will obstruct airflow.
OPERATIONS & MAINTENANCE | Facility / Energy Managers | Clean Windows and Skylights: Window and skylight cleaning will allow more natural daylight to illuminate work areas.
OPERATIONS & MAINTENANCE | Facility / Energy Managers | At least once per year, review the operating hours of buildings and adjust setpoints and schedules if needed. If appropriate, also consider reviewing occupancy levels.
ACHIEVE LIGHT SAVINGS | Occupants / Tenants | Maximize daylighting - after all, sunlight is free! Open or close curtains/blinds to make the best use of natural daylight and take advantage of skylights or other natural daylight sources to reduce lighting during daytime hours. To learn more, visit: http://www.eere.energy.gov/buildings/info/design/integratedbuilding/passivedaylighting.html.
ACHIEVE LIGHT SAVINGS | Occupants / Tenants | Turn off lights when you leave the room, if the room is not occupied, or when natural daylight from windows is sufficient. Did You Know? Incandescent lights should be immediately turned off when not in use, and fluorescent lights should be turned off if the room is unoccupied for more than 7 minutes. These practices can reduce lighting expenses by 10 - 40%.
ACHIEVE LIGHT SAVINGS | Occupants / Tenants | Use task lighting where feasible, instead of brightly lighting an entire room. Quick Tip: Direct light at areas where you need it or where tasks are being performed with compact fluorescent lights and use lower wattage for overhead ambient lighting.
ACHIEVE LIGHT SAVINGS | Facility / Energy Managers | Remove unnecessary lamps (de-lamp) in over-lit areas. Check your light levels against standards from the Illuminating Engineering Society (IES) to see if you have areas that are over- or under-lit. To learn more, visit: https://www.ies.org.
ACHIEVE LIGHT SAVINGS | Facility / Energy Managers | Replace incandescent lights with compact fluorescent lights (CFLs) or ENERGY STAR certified LEDs for desk lamps, task lights, and floor lamps. Did You Know? Using CFLs instead of comparable incandescent bulbs can save about 50% on lighting costs. Using LEDs instead of comparable incandescent bulbs can save approximately 70% of the electrical consumption for lighting. CFLs use only 1/4 of the energy and last up to 7 times longer. LED lamps can use 90% less energy than what is required for incandescent bulbs and may last 35 - 50 times longer.
ACHIEVE LIGHT SAVINGS | Facility / Energy Managers | Replace old fluorescent and incandescent lighting with ENERGY STAR certified LEDs, T-8 (or even T-5) fixtures, and other energy-efficient lighting systems that improve light quality and reduce heat gain. Did You Know? Replacing existing T-8 lamp troffer fixtures with LED fixture cores can save approximately 50% of the electrical consumption for lighting. Additionally, dimming is standard on LEDs and could be used to implement continuous daylight harvesting.
ACHIEVE LIGHT SAVINGS | Facility / Energy Managers | Daylight Harvesting: Locate workstations requiring high illumination adjacent to windows. Switch off overhead and task lights when daylight is sufficient.
ACHIEVE LIGHT SAVINGS | Facility / Energy Managers | Install LED exit signs. Did You Know? Typical exit signs are fluorescent; by changing to LED, 113 kWh per year, per exit sign, could be saved. LED signs can also dramatically reduce maintenance by eliminating the need to replace lamps and can save an additional $10 per sign annually in electricity costs.
ACHIEVE LIGHT SAVINGS | Facility / Energy Managers | Installing occupancy sensors via dual technology will automatically turn off lights when no one is present and turn them back on when people return. For areas such as storage rooms, back-of-house spaces, meeting rooms, classrooms, break rooms, individual offices, restrooms, and other low traffic areas are often good candidates. Vacancy sensing (manual on –automatic off) is recommended for break rooms, offices, meeting rooms, and classrooms. Some sensors and power packs can be networked together to form a lighting control system. Quick Tip: And don’t forget — even good equipment can be installed incorrectly, so don’t install the sensor behind a coat rack, door, bookcase, etc. It must be able to “see” an approaching person’s motion to turn on the light as they enter an unlit room. Did You Know? Occupancy sensors can save between 15 - 30% on lighting costs.
ACHIEVE LIGHT SAVINGS | Facility / Energy Managers | Install dimmer controls to adjust lighting based on available ambient natural light. Quick Tip: Consider using an automated system to do this.
ACHIEVE LIGHT SAVINGS | Facility / Energy Managers | Examine the energy savings opportunity to switch from high-pressure sodium lamps to metal halide lamps in parking lots. Consider upgrading to LED lighting for outdoor signage.
PLUG LOAD REDUCTION | Occupants / Tenants | Enable the power management function on office computers and monitors, which automatically puts monitors to sleep when not in use. Monitors should be set to “sleep mode” after 15 minutes of inactivity (Screen savers do not save energy). To learn how to enable this function, visit www.energystar.gov/powermanagement.
PLUG LOAD REDUCTION | Occupants / Tenants | Purchase equipment that has a power management feature and enable it. Activate sleep settings on all printers, copiers, fax machines, scanners, and multifunction devises so that they automatically enter a low-powered sleep mode when inactive. Use the owner's manual to make the setting changes yourself or ask your service vendor to ensure your machines are configured to take full advantage of these features. If your equipment does not have this feature, then it should be turned off when it is not to be used for more than two hours. This also increases the life of your equipment.
PLUG LOAD REDUCTION | Occupants / Tenants | Consolidate stand-alone office equipment to achieve a ratio of one device (typically a networked multifunction device) per 10 or more users. Did You Know? Typical cost savings can reach 30 - 40% for electricity, hardware, consumables (paper, ink, and toner), and maintenance.
PLUG LOAD REDUCTION | Occupants / Tenants | Photocopy only what you need. Always use the second side of paper, either by printing on both sides or by using the blank side as scrap paper. Whenever possible, e-mail documents instead of printing and mailing hardcopies.
PLUG LOAD REDUCTION | Occupants / Tenants | Plug electronics into a "smart" power strip that lets you designate which electronics should always be on, and which ones do not need power when they're not in use.
PLUG LOAD REDUCTION | Occupants / Tenants | Purchase energy-efficient products like ENERGY STAR certified office equipment and electronics. Did You Know? Inkjet printers use approximately 1/5 of the electricity as laser printers. Laptop computers use approximately 1/4 of the electricity as desktop computers.
PLUG LOAD REDUCTION | Occupants / Tenants | Unplug equipment that continues using energy (i.e., cell phone chargers, copiers, computers, monitors, printers, TVs, DVRs, PlayStations/Xboxes, etc.) when not actively being used. Turn off radios, coffee makers, and similar appliances when they are not in use.
PLUG LOAD REDUCTION | Facility / Energy Managers | Upgrade pre-rinse spray valves - using more efficient pre-rinse spray valves to rinse dishes can save both water and energy. Quick Tip: Only run full loads when using the dishwasher and clothes washing machine.
PLUG LOAD REDUCTION | Occupants / Tenants | Purchase energy-efficient products like ENERGY STAR certified office equipment and electronics. Note: Establish a procurement policy for energy-saving products.
PLUG LOAD REDUCTION | Facility / Energy Managers | Purchase ENERGY STAR certified commercial food service equipment. Did You Know? For example, certified refrigerators and freezers can save over 45% of the energy used by conventional models, which equals as much as $140 saved annually for refrigerators and $100 saved annually for freezers; deep fryers can save between $60 and $180 per year; hot food holding cabinets can save up to $280 per year; and steam cookers can save between $450 and $820 per year, depending on fuel.
PLUG LOAD REDUCTION | Facility / Energy Managers | For existing refrigerators, clean refrigerator coils twice per year. Replace door gaskets if a dollar bill easily slips out when closed between the door's seals.
PLUG LOAD REDUCTION | Facility / Energy Managers | Older Vending Machine Models: Install vending machine controllers, also known as vending misers. Then put machines into a low power mode when the surrounding area is not occupied, while maintaining necessary temperatures in refrigerated machines. Newer Vending Machine Models: On some newer vending machines, these controls are built in, so external controllers are not needed; check that the controls are active on these models.
OPTIMIZE HEATING & COOLING | Facility / Energy Managers | Set back the thermostat in the evenings and other times when the building isn’t occupied.
OPTIMIZE HEATING & COOLING | Facility / Energy Managers | Perform monthly maintenance of heating and cooling equipment to guarantee efficient operations throughout the year.
OPTIMIZE HEATING & COOLING | Facility / Energy Managers | Adjust thermostat temperature setpoints for occupied hours during colder weather between 68°F - 70°F. During warmer weather, adjust thermostat temperature setpoints to 74°F - 76°F.
OPTIMIZE HEATING & COOLING | Occupants / Tenants | Alert building representative (facility manager or landlord) or appropriate maintenance personnel of spaces that are being overcooled (below 68°F) and overheated (above 76°F) during hours of building occupancy. Did You Know? Heating and cooling represent half of all energy used in a building or campus.
OPTIMIZE HEATING & COOLING | Facility / Energy Managers | Regularly change or clean HVAC filters every month during peak cooling or heating seasons. Did You Know? Dirty filters cost more to use, overwork the equipment, and result in lower indoor air quality.
OPTIMIZE HEATING & COOLING | Occupants / Tenants | Do not place heat-generating equipment (copiers, space heaters, etc.) close to a thermostat. Did You Know? This interferes with the normal operation of the building's HVAC system.
OPTIMIZE HEATING & COOLING | Facility / Energy Managers | Plug air leaks with weather stripping and caulking.
OPTIMIZE HEATING & COOLING | Facility / Energy Managers | At least twice per year, calibrate thermostats to ensure that their ambient temperature readings are correct, and adjust temperature set points for seasonal changes.
OPTIMIZE HEATING & COOLING | Occupants / Tenants | Adjust fan modes on electronic, non-programmable thermostats to run in "AUTO" mode instead of "ON". Did You Know? In the "ON" position, the fans operate continuously, whether or not cooling or heating is required. Not only does this cause unnecessary electricity consumption, but this also brings in unconditioned outside air when the unit is not actively cooling or heating. This contributes to decreased comfort levels in the building, and increased humidity in the building during the summer months. By placing the fan control in the “AUTO” position, the run time of the fans can be significantly reduced, and an improvement in building comfort conditions can be expected as this will reduce the introduction of unconditioned air into the building.
OPTIMIZE HEATING & COOLING | Facility / Energy Managers | Replace non-programmable thermostats with programmable thermostats. Did You Know? By installing programmable thermostats, the HVAC systems can be programmed to automatically adjust temperature setpoints based on the anticipated operating schedule. Ideally, HVAC systems would turn back at night to provide less conditioning of unoccupied spaces. A “night setback” temperature can be programmed for each space and HVAC systems would re-start intermittently to maintain the setback temperature. In the winter, setback temperatures should be between 48 - 56°F to save energy while avoiding frozen pipes. In areas that tend to be especially cold, freezing can be avoided by applying thermostatically controlled electric heat tape to vulnerable pipes. An "occupied time" and "occupied temperature" setpoint can also be programmed.
OPTIMIZE HEATING & COOLING | Occupants / Tenants | Vestibule doors should not be propped open and should always close and latch behind you.
OPTIMIZE HEATING & COOLING | Facility / Energy Managers | Place signage strategically to remind occupants to close and latch doors regularly, instead of propping them open.
OPTIMIZE HEATING & COOLING | Facility / Energy Managers | Use shades and blinds to control direct sunlight through windows in both summer and winter to prevent or encourage heat gain. During the cooling season (warmer months): Close or adjust window blinds to block direct heat gain from the sun shining through glass. Overhangs or exterior window covers are most effective to block sunlight on south-facing windows. Depending on your facility, options such as "solar screens", "solar films", awnings, and vegetation can help. Over time, trees can attractively shade the facility, and improve air quality. Interior curtains or drapes can help, but it's best to prevent the summer heat from getting past the glass and inside. During the heating season (colder months): Open blinds on south-facing windows during the day to allow sunlight in. Unobstructed south-facing windows can contribute to solar heat gain and naturally heat a workspace. At night, close blinds to reduce heat loss.
OPTIMIZE HEATING & COOLING | Facility / Energy Managers | Set ventilation systems (exhaust fans, air supply fans, and dampers) to operate only during occupied hours, or at reduced speeds when the building is not in use.
OPTIMIZE HEATING & COOLING | Occupants / Tenants | Make sure that areas in front of vents are clear of furniture, paper, and other items so that air can circulate freely. Did You Know? It takes as much as 25 percent more energy to distribute air into a space if the vents are blocked.
OPTIMIZE HEATING & COOLING | Facility / Energy Managers | Place signage strategically to remind occupants to keep vents clear of furniture, paper, and other items.
OPTIMIZE HEATING & COOLING | Facility / Energy Managers | Clean the evaporator and condenser coils on heat pumps, air-conditioners, or chillers. Did You Know? Dirty coils inhibit heat transfer, while keeping coils clean saves energy.
OPTIMIZE HEATING & COOLING | Facility / Energy Managers | Repair leaks and adjust pressure in compressed air systems.
OPTIMIZE HEATING & COOLING | Facility / Energy Managers | Isolate non-essential distribution piping and reduce distribution pressure.
OPTIMIZE HEATING & COOLING | Facility / Energy Managers | Inspect steam coils and traps. Repair steam trap leaks and/or replace malfunctioning steam traps.
OPTIMIZE HEATING & COOLING | Facility / Energy Managers | Repair damaged insulation and replace missing insulation with thicknesses calculated for the operating and ambient conditions of the mechanical system or building envelope. Did You Know? Adding insulation to the existing envelope could result in approximately 10% - 15% energy savings.
OPTIMIZE HEATING & COOLING | Facility / Energy Managers | Keep exterior doors and windows closed whenever the HVAC systems are operating to condition the building. If your building is equipped with revolving doors, encourage or require their use as opposed to swinging doors.
OPTIMIZE HEATING & COOLING | Facility / Energy Managers | Install variable frequency drives (VFDs) and energy-efficient motors on HVAC equipment to adapt airflow as needed and to reduce maintained costs.
OPTIMIZE HEATING & COOLING | Facility / Energy Managers | Install window films and add insulation or reflective roof coating to reduce energy consumption.
OPTIMIZE HEATING & COOLING | Facility / Energy Managers | Minimize use of outside air for process ventilation.
OPTIMIZE HEATING & COOLING | Facility / Energy Managers | Minimize the use of gas-fired refrigeration equipment.
OPTIMIZE HEATING & COOLING | Facility / Energy Managers | Install a desiccant dehumidification system.
OPTIMIZE HEATING & COOLING | Facility / Energy Managers | Upgrade aging windows to newer, more energy-efficient models, depending on your building needs.
OPTIMIZE HEATING & COOLING | Facility / Energy Managers | Replace filters in your HVAC system as required, based on your system and current facility requirements. Quick Tip: The American Society of Heating, Refrigerating, and Air-Conditioning Engineers (ASHRAE) recommends using filters rated MERV 13 or higher. Higher-rated filters may require more frequent filter changes.
CONSERVE DOMESTIC HOT WATER | Facility / Energy Managers | Install efficient circulating pumps with variable speed controls. Quick Tip: Pumps should use ECMs or high efficiency motors with Variable Frequency Drives (VFDs) and should only operate when the building is occupied.
CONSERVE DOMESTIC HOT WATER | Facility / Energy Managers | Insulate water heaters, hot water piping, and tanks to reduce heat loss, especially in non‐conditioned spaces.
CONSERVE DOMESTIC HOT WATER | Facility / Energy Managers | Consider replacing low-use water heaters with on‐demand heaters to reduce standby losses.
CONSERVE DOMESTIC HOT WATER | Facility / Energy Managers | Install low-flow toilets, urinals, faucets, and shower heads. Did You Know? EPA has a voluntary program that certifies water-saving products and provides other water-saving advice. To learn more, visit: https://www.epa.gov/watersense.
CONSERVE DOMESTIC HOT WATER | Facility / Energy Managers | Install efficient aerators on bathroom faucets. Did You Know? Older aerators are usually rated at 2.0 gallons per minute (gpm), but sufficient water flow can still be provided by replacing these spouts with aerators rated at 0.5-1.0 gpm, which can reduce water/sewer/electric costs associated with hand washing by approximately 25%.
BEHAVIORAL CHANGE STRATEGIES | Facility / Energy Managers | Educate staff members about the basic principles of energy management and empower them to establish their own departmental green initiatives. Refer to the ELP Resource Page at https://www.tn.gov/environment/program-areas/energy/state-facility-utility-management--sfum-/elp.html. ENERGY STAR's Guidelines for Energy Management are also helpful and can be accessed here: https://www.energystar.gov/buildings/tools-and-resources/energy-star-guidelines-energy-management.
BEHAVIORAL CHANGE STRATEGIES | Facility / Energy Managers | Share your energy efficiency goals with employees and occupants. Did You Know? Transparency is the first step to getting the people inside your building or space interested in what you’re doing and earning their support.
BEHAVIORAL CHANGE STRATEGIES | Facility / Energy Managers | Display the past 6 – 12 months of energy use information in a high traffic area or distribute it as part of a regular report. Quick Tip: Ensure that their usage is complemented with positive messages that encourage improvement rather than assign blame. Seeing the data and any trends in energy use can inspire occupants and employees to contribute to continued savings.
BEHAVIORAL CHANGE STRATEGIES | Occupants / Tenants | Encourage actions that apply to most of your employees’ workspaces, or that can be practiced at work and at home, like turning off lights when not in use and activating computer power management features.
BEHAVIORAL CHANGE STRATEGIES | Facility / Energy Managers | Print and hang banners, posters, and signs with energy-saving messages in high traffic areas in your building, such as lobbies, elevators, hallways, over water fountains, and in break rooms.
BEHAVIORAL CHANGE STRATEGIES | Facility / Energy Managers | Provide signage to turn off or unplug electronics that are not in use. Quick Tip: Create door hangers, post-it note reminders, or light switch covers to help occupants or employees remember to take action.
BEHAVIORAL CHANGE STRATEGIES | Facility / Energy Managers | Conduct an energy awareness event in the lobby or offer building tours to give occupants a better understanding of the inner workings of the building.
BEHAVIORAL CHANGE STRATEGIES | Occupants / Tenants | Reduce/eliminate space heater use. Quick Tip: Most of the space heaters are not needed because the buildings do provide approved temperatures (very few exceptions). Consider bringing a sweater to class or work instead.
BEHAVIORAL CHANGE STRATEGIES | Occupants / Tenants | Wear clothing appropriate to the season and weather – lightweight clothing in summer and warmer clothes in winter. You can also layer clothing so that you can adapt to the varying conditions in your classroom, workspace, or living area and still be comfortable.
BEHAVIORAL CHANGE STRATEGIES | Occupants / Tenants | Turn off bathroom exhaust fans, stove exhaust fans, and other small exhaust fans when they are not needed.
BEHAVIORAL CHANGE STRATEGIES | Facility / Energy Managers | Regularly remind occupants to ensure windows are tightly closed if they have opened them while in the building.
BEHAVIORAL CHANGE STRATEGIES | Occupants / Tenants | Carpool, walk, bike, or use public transportation when commuting to work and around campus.
BEHAVIORAL CHANGE STRATEGIES | Occupants / Tenants | Use stairs instead of elevators when feasible. This also helps promote and maintain a healthier body.
BEHAVIORAL CHANGE STRATEGIES | Occupants / Tenants | Higher Education: Shorten your shower time - the average shower lasts about eight minutes. Did You Know? Showers account for 70% of the campus residential building water heating costs.
BEHAVIORAL CHANGE STRATEGIES | Occupants / Tenants | Higher Education: Close laboratory fume hood sashes whenever the fume hood is not being used (and whenever possible, even during use).

## Checklist Sources
Source Document: | Source Author | Source Link:
Checklist of Common Energy-Saving Measusres 2021 | Energy STAR - Energystar.gov | https://www.energystar.gov/buildings/tools-and-resources/checklist_common_energy_saving_measures
Energy Checklist - University of Alabama Facilities | University of Alabama - Uafacilities.ua.edu | https://uafacilities.ua.edu/energy-management/energy-checklist/
Energy -Efficiency Checlist for Closed or Partially Vacant Office Buildings | Save On Energy - Saveonenergy.ca | https://saveonenergy.ca/-/media/Files/SaveOnEnergy/Industry/Save-on-Energy---Office-Building-Checklist.ashx
ASHRAE Level 1 energy Audit Reprot for Eugene Airport Administration Building | City of Eugene, OR. - Eugene-or.gov | https://www.eugene-or.gov/DocumentCenter/View/39377/Level-1-Energy-Audit-Admin-Building
Federal Energy Management Program (FEMP) Facility Energy Checklist | Department of Energy (DOE) - energy.gov | https://www.energy.gov/eere/femp/facility-energy-checklist
Federal Energy Management Program (FEMP) Office Energy Checklist | Department of Energy (DOE) - energy.gov | https://www.energy.gov/eere/femp/office-energy-checklist
Northwest Energy Efficiency Council (NEEC) - Building Energy Efficiency Checklist | Northwest Energy Efficiency Council - seattle.gov | https://www.seattle.gov/documents/Departments/Environment/ClimateChange/NEEC_Building_EE_Checklist.pdf
Energy Efficiency Checklist for Municipal Buildings | Umass Clean energy Extension - ag.umass.edu | https://ag.umass.edu/sites/ag.umass.edu/files/pdf-doc-ppt/energy_efficiency_checklist_for_municipal_buildings.pdf