## General Information
Last data update 10/5/2023
EPA’s Fifth Unregulated Contaminant Monitoring Rule (UCMR 5) sampling event is currently active. The EPA will utilize UCMR 5 data to understand the frequency of occurrence as well as the levels of 29 PFAS and lithium found in drinking water systems. The information will assist EPA in future regulatory decisions and actions to protect public health. The EPA began sampling and testing for (UCMR 5) data in January of 2023 and anticipates sample collection and assessment of sample results through December of 2025.
This Excel spreadsheet shows PFAS testing results from finished (i.e., treated) drinking water that are being tested as a part of EPA's UCMR 5 sampling effort. More specifically, this spreadsheet displays the test results for 29 PFAS and lithium, including the 6 PFAS that EPA has proposed Maximum Contaminant Levels (MCLs) for the finished (i.e., treated) drinking water: PFOA, PFOS, PFHxS, HFPO-DA, PFBS, and PFNA. While EPA has proposed MCLs for finished drinking water, these rules are not final or effective.

## Definitions and Acronyms
Term/Acronym | Definition
Minimum Reporting Limit (MRL) | The lowest concentration at which a PFAS analyte can be reliably quanitified under method conditions.
Non-Detect | The PFAS analyte was not detected at the laboratory's minimum reporting limit (MRL).
ppt | Parts per Trillion. The unit at which UCMR5 results are being measured at and reported to. ppt is equal to ng/L.
ng/L | Nanograms per liter. The unit at which UCMR5 results are being measured at and reported to. ng/L is equal to ppt.
GU | Groundwater UDI Surface Water – System has a source that provides water under the direct influence of surface water (e.g., unprotected well or springs) and no surface water sources.
SW | Surface Water – System has a surface source (e.g., river, reservoir, intake).
GW | Groundwater – System has a groundwater source that is not under the direct influence of surface water (e.g., protected wells) and no surface water or groundwater under the influence of surface water sources

## Results
Public Utility System Name | Public Utility System ID | City | Water Type | Public Utility System Population Served | Raw or Treated Water | Sample Date | Results Units | PFOA | PFOS | PFBS | HFPO-DA | PFHxS | PFNA | PFBA | PFMPA | PFPeA | PFMBA | PFEESA | PFTrDA | NFDHA | 4:2 FTS | NETFOSAA | NMEFOSAA | PFHpA | PFHxA | ADONA | PFPeS | 6:2 FTS | PFHpS | PFTeDA | 9Cl-PF3ONS | 8:2 FTS | PFDA | PFUnA | 11Cl-PF3OUdS | PFDoA | Lithium
ALGOOD WATER SYSTEM | TN0000009 | Algood | SW | 9203 | Treated Drinking Water | 2023-02-14 | ng/L or ppt | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
ASHLAND CITY WATER DEPARTMENT | TN0000023 | Ashland City | SW | 8494 | Treated Drinking Water | 2023-02-14 | ng/L or ppt | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
BARTLETT WATER SYSTEM | TN0000765 | Bartlett | GW | 52503 | Treated Drinking Water | 2023-02-15 | ng/L or ppt | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
BON DE CROFT UTILITY DISTRICT | TN0000653 | Sparta | SW | 4280 | Treated Drinking Water | 2023-02-14 | ng/L or ppt | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
CARTHAGE WATER SYSTEM | TN0000095 | Carthage | SW | 2945 | Treated Drinking Water | 2023-02-13 | ng/L or ppt | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
CASTALIAN SPRINGS-BETHPAGE U D | TN0000097 | Bethpage | SW | 13883 | Treated Drinking Water | 2023-01-17 | ng/L or ppt | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
CHUCKEY UTILITY DISTRICT | TN0000108 | Tusculum | SW | 14128 | Treated Drinking Water | 2023-01-24 | ng/L or ppt | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
CLAIBORNE UTILITIES DISTRICT | TN0000113 | New Tazewell | SW | 15415 | Treated Drinking Water | 2023-04-11 | ng/L or ppt | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
COLLIERVILLE WATER DEPT | TN0000126 | Collierville | GW | 51320 | Treated Drinking Water | 2023-03-30 | ng/L or ppt | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
COLUMBIA POWER AND WATER SYSTEMS | TN0000128 | Columbia | SW | 78630 | Treated Drinking Water | 2023-01-25 | ng/L or ppt | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
CONSOLIDATED UTILITY DISTRICT OF RUTHERFORD COUNTY | TN0000791 | Murfreesboro | SW | 208497 | Treated Drinking Water | 2023-02-13 | ng/L or ppt | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
COVINGTON WATER DEPT | TN0000144 | Covington | GW | 14334 | Treated Drinking Water | 2023-02-09 | ng/L or ppt | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
DECATUR WATER DEPT | TN0000183 | Decatur | GU | 6164 | Treated Drinking Water | 2023-02-13 | ng/L or ppt | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
DECHERD WATER DEPT. | TN0000187 | Decherd | GU | 4613 | Treated Drinking Water | 2023-01-25 | ng/L or ppt | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
DEWHITE UTILITY DISTRICT | TN0000190 | Sparta | SW | 7897 | Treated Drinking Water | 2023-01-23 | ng/L or ppt | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
DOVER WATER DEPT, TN | TN0000193 | Dover | SW | 4787 | Treated Drinking Water | 2023-01-25 | ng/L or ppt | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
DRESDEN WATER DEPT | TN0000196 | Dresden | GW | 3265 | Treated Drinking Water | 2023-04-19 | ng/L or ppt | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
DYERSBURG WATER DEPT | TN0000211 | Dyersburg | GW | 19759 | Treated Drinking Water | 2023-03-21 | ng/L or ppt | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
ELIZABETHTON WATER DEPT | TN0000221 | Elizabethton | GW | 31956 | Treated Drinking Water | 2023-05-01 | ng/L or ppt | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
FAIRVIEW UTILITY DISTRICT | TN0000563 | Pulaski | SW | 6223 | Treated Drinking Water | 2023-02-13 | ng/L or ppt | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
FIRST UTIL DIST OF KNOX COUNTY | TN0000369 | Knoxville | SW | 95628 | Treated Drinking Water | 2023-05-10 | ng/L or ppt | Non-Detect | Non-Detect | 3.9 | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | 3 | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
FORT CAMPBELL WATER SYSTEM | TN0000820 | Fort Campbell | GU | 43270 | Treated Drinking Water | 2023-01-19 | ng/L or ppt | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
GLEN HILLS UTILITY DISTRICT | TN0000266 | Greeneville | SW | 16839 | Treated Drinking Water | 2023-01-18 | ng/L or ppt | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
GREENBRIER WATER & SEWER DEPT. | TN0000271 | Greenbrier | SW | 8555 | Treated Drinking Water | 2023-01-25 | ng/L or ppt | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
GREENEVILLE WATER & LIGHT COMM | TN0000273 | Greeneville | SW | 25425 | Treated Drinking Water | 2023-02-08 | ng/L or ppt | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
HAMPTON UTILITY DISTRICT | TN0000282 | Hampton | GW | 3869 | Treated Drinking Water | 2023-02-14 | ng/L or ppt | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
HARPETH VALLEY U D | TN0000286 | Nashville | SW | 60778 | Treated Drinking Water | 2023-02-08 | ng/L or ppt | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
HARTSVILLE-TROUDALE WAT/SEW U D | TN0000291 | Hartsville | SW | 9454 | Treated Drinking Water | 2023-01-24 | ng/L or ppt | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
HILLSVILLE UTILITY DISTRICT | TN0000430 | Manchester | SW | 11308 | Treated Drinking Water | 2023-03-14 | ng/L or ppt | 5.3 | 4 | 3.6 | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | 3.2 | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | 3.8 | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
JELLICO WATER DEPT | TN0000330 | Jellico | SW | 5129 | Treated Drinking Water | 2023-02-14 | ng/L or ppt | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
KINGSPORT WATER DEPT | TN0000349 | Kingsport | SW | 106765 | Treated Drinking Water | 2023-02-01 | ng/L or ppt | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
LA VERGNE WATER SYSTEM | TN0000386 | La Vergne | SW | 38243 | Treated Drinking Water | 2023-04-05 | ng/L or ppt | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
LEBANON WATER SYSTEM | TN0000393 | Lebanon | SW | 61074 | Treated Drinking Water | 2023-01-09 | ng/L or ppt | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
MADISON SUBURBAN UD | TN0000424 | Madison | SW | 78133 | Treated Drinking Water | 2023-02-08 | ng/L or ppt | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
METRO LYNCHBURG/MOORE COUNTY UT DEPT #1 | TN0000416 | Lynchburg | SW | 6405 | Treated Drinking Water | 2023-02-14 | ng/L or ppt | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
MILAN WATER DEPT | TN0000458 | Milan | GW | 10716 | Treated Drinking Water | 2023-03-07 | ng/L or ppt | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
NASHVILLE WATER DEPT | TN0000494 | Nashville | SW | 692094 | Treated Drinking Water | 2023-02-21 | ng/L or ppt | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
NORTHEAST LAWRENCE UTILITY DIS | TN0000389 | Lawrenceburg | GW | 3578 | Treated Drinking Water | 2023-01-24 | ng/L or ppt | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
OCOEE UTILITY DISTRICT | TN0000525 | Cleveland | SW | 20607 | Treated Drinking Water | 2023-01-30 | ng/L or ppt | 4.5 | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | 4.2 | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | 3.4 | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
OLD KNOXVILLE HWY U D | TN0000530 | Mosheim | SW | 9280 | Treated Drinking Water | 2023-01-24 | ng/L or ppt | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
PARSONS WATER DEPARTMENT | TN0000541 | Parsons | SW | 4261 | Treated Drinking Water | 2023-02-13 | ng/L or ppt | 4.7 | 9.3 | 3.9 | Non-Detect | Non-Detect | Non-Detect | 8.9 | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
POPLAR GROVE UTILITY DISTRICT | TN0000201 | Atoka | GW | 18664 | Treated Drinking Water | 2023-03-12 | ng/L or ppt | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
PORTLAND WATER SYSTEM | TN0000559 | Portland | SW | 22458 | Treated Drinking Water | 2023-04-25 | ng/L or ppt | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
RICEVILLE UTILITY DISTRICT | TN0000576 | Riceville | SW | 3727 | Treated Drinking Water | 2023-02-13 | ng/L or ppt | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
ROGERSVILLE WATER SYSTEM | TN0000593 | Rogersville | SW | 12915 | Treated Drinking Water | 2023-04-10 | ng/L or ppt | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
RUSSELLVILLE WHITESBURG U D | TN0000598 | Russellville | SW | 20039 | Treated Drinking Water | 2023-04-11 | ng/L or ppt | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
SAVANNAH UTILITY DEPT | TN0000611 | Savannah | GW | 19495 | Treated Drinking Water | 3/13/2023 and 4/4/2023 | ng/L or ppt | Non-Detect | 6.7 | 3.4 | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
SECOND SOUTH CHEATHAM U.D. | TN0000645 | Kingston Springs | SW | 9246 | Treated Drinking Water | 2023-01-24 | ng/L or ppt | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
SMITHVILLE WATER SYSTEM | TN0000637 | Smithville | SW | 6520 | Treated Drinking Water | 2023-01-25 | ng/L or ppt | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
SMYRNA WATER SYSTEM | TN0000639 | Smyrna | SW | 57466 | Treated Drinking Water | 2023-01-23 | ng/L or ppt | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
WEST CUMBERLAND U.D. | TN0000557 | Pleasant Hill | SW | 4924 | Treated Drinking Water | 2023-01-24 | ng/L or ppt | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
WEST KNOX UTILITY DISTRICT | TN0000371 | Knoxville | SW | 70666 | Treated Drinking Water | 2023-01-30 | ng/L or ppt | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
WHITE PINE WATER SYSTEM | TN0000746 | White Pine | GU | 4171 | Treated Drinking Water | 2023-01-23 | ng/L or ppt | Non-Detect | 4.1 | 5.4 | Non-Detect | 8.2 | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect